## CONSTRUCTION UNITS CONT
SCHEDULE 1
PRAIRIE SUBSTATION CONSTRUCTION BID UNITS
UNIT NO. | NAME AND DESCRIPTION OF | NO. OF | UNIT PRICE |  |  | EXTENDED PRICE
NO. | CONSTRUCTION UNIT | UNITS | Labor | Materials | Labor & Materials | Labor & Materials
Group A | Structures - BUS
A1 | Bus 1 1/2" – A2 to Breaker Source Side and Breaker Load Side to Regulator Source Side | 1-Lot |  |  | 0 | 0
A2 | 383: 18-530 AL WELD COUPLER 1 1/2"IPS RUN AND TAP[1] | 12 |  | 49.55 | 49.55 | 594.6
A3 | 384: 18-623-WR AL WELD TEE TAP 1-3"IPS TO A 4 HOLE PAD[1] | 12 |  | 22.95 | 22.95 | 275.4
A4 | 385: 18-113-CFE AL WELD TERM 1 1/2"IPS TO A 2 HOLE PAD CENTER FORM (EXT FIT)[1] | 24 |  | 56.3 | 56.3 | 1351.2
A5 | 386: 18-114-CFE AL WELD TERM 1 1/2"IPS TO A 4 HOLE PAD CENTER FORM (EXT FIT)[1] | 24 |  | 62.75 | 62.75 | 1506
A6 | ATH-M06: 13C, 103A, 3C, AND 401B[1] | 12 |  | 129 | 129 | 1548
[5 empty] | Total for Group A | 5275.2
Group D | Single Pole Disconnecting Switches
D1 | 27kV, 1200 Amp Hook Operated Switches[1] | 24 |  | 922.73 | 922.73 | 22145.52
D2 | 25kV, 600 Regulator Hook Operated Bypass Switches[1] | 12 |  | 3797 | 3797 | 45564
[5 empty] | Total for Group D | 67709.52
Group E | Power Circuit Breakers
E1 | 27.6 kV, 1200 Amp Vacuum Breakers[1] | 3 |  | 29822 | 29822 | 89466
[5 empty] | Total for Group E | 89466
Group K | Conduit and Cable
K1 | Conduit and Conduit Accessories -Within Substation | 1-Lot |  |  | 0 | 0
K2 | Other Wire and Cable - 304 - Jumpers, BARE COPPER CABLE, 37 STRANDING, SOFT DRAWN, 500 KCM[1] | 18 |  | 166.67 | 166.67 | 3000.06
K3-2 | 2-Conductor - Multi Strand - DC Cable - 884'[1] | 1-Lot |  | 1174.84 | 1174.84 | 1174.84
K3-3 | 3-Conductor - Multi Strand - AC Cable - 884'[1] | 1-Lot |  | 1608 | 1608 | 1608
K3-4 | 4-Conductor - Multi Strand - CT Cable - 884'[1] | 1-Lot |  | 2004.03 | 2004.03 | 2004.03
K3-12 | 12-Conductor - Multi Strand - Breaker Control - 884'[1] | 1-Lot |  | 5978.49 | 5978.49 | 5978.49
K4 | Conduit and Conduit Accessories -Outside Substation, Including Conduit Needed for Riser Pole | 1-Lot |  |  | 0 | 0
[5 empty] | Total for Group K | 13765.42
Group L | Foundations
L1 | ATH-F06: FOUNDATION G | 3
Total for Group L
Group M | Site Finishing
M1 | Subgrade Preparation | 1-Lot |  |  | 0
M2 | Finish Gravel | 1-Lot |  |  | 0
[5 empty] | Total for Group M | 0
Group O | Station Grounding
O1 | Station Grounding | 1-Lot |  |  | 0 | 0
[5 empty] | Total for Group O | 0
Group U | Equipment Operational Checks and Bond
U1 | Equipment operational checks and pre-energization deficiency corrections as described in Exhibit B of the specifications | 1-Lot |  | 0 | 0 | 0
U2 | Performance Bond | 1-Lot |  | 0 | 0 | 0
U3 | Breaker Testing - HIPOT, DLRO, Speed Shot, Pulse and Ratio CT | 3 |  | 0 | 0 | 0
[5 empty] | Total for Group U | 0
Group X | Demolition and Salvage
X1 | Remove Eaton Cooper Reclosers and F6 controls for salvage, and associated wiring for disposal. Cut unused conduit above grade and cap. | 1-Lot |  |  | 0 | 0
[5 empty] | Total for Group X | 0
Group Other | E1 Material Items
316 | CU COMP TERM 500MCM TO A 4X4 PAD[1] | 18 |  | 163.9 | 163.9 | 2950.2
381 | 11-234 BR TERM (2) 4/0-1000 TO A 4 HOLE PAD[1] | 48 |  | 313.2 | 313.2 | 15033.6
382 | 110-103-CS-2 BR PAR CLAMP CABLE SPACER(2) 250-500 MCM (2" SPACING)[1] | 48 |  | 80.3 | 80.3 | 3854.4
| Conductor Wrap - Gray Eel for 500 KCM[1] | 18 |  | 150 | 150 | 2700
| Wild Life Guards[1] | 18 |  | 150 | 150 | 2700
|  |  |  | Total for Group Other |  | 27238.2
Notes: | [1] Owner furnished material
[2] Some Owner furnished materials present for bid item - refer to owner furnished material list and specification drawings for specifics.
Include the costs of the Owner furnished material in the material portion of your bid unit as it will be subtracted out from your monthly invoices
Part UR
UNIT | NO. OF |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | Labor | Materials | Labor & Materials | Labor & Material
UR2-H | 180 |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units |  |  |  |  | 0
[5 empty] | BID TOTAL | 203454.34