## PROPOSAL SUMMARY
PROPOSAL SUMMARY
DISTRIBUTION LINE CONSTRUCTION
| Line Change New Construction | 73410.04
Part LCN | Part LCN
| Line Removals | 0
Part LCR | Part LCR
| Trenching & Boring | 0
Part UR
| Stormwater Pollution Prevention Plan | 0
SWPPP
| TOTAL | 73410.04

## REMOVAL UNITS
Part LCR - REMOVAL CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | LABOR
1/0-25KV | 69
2 TRI | 665
20-5 | 1
2-15KV | 70
25-6 | 1
30-5 | 5
35-5 | 7
35-7 | 1
4 ACSR | 966
4 TRI | 19
40-4 | 1
40-5 | 7
45-3 | 1
45-4 | 1
6HDC | 12248
A1 | 3
A1A | 3
A4 | 2
A5 | 2
A5 BELLS | 1
A5-1 | 4
A5-2 | 1
A5-3 | 1
A6 | 1
A7X | 3
A8X | 3
A9-1 | 1
A9-1X | 2
A9X | 1
CT WIRE | 73
E1-1 | 9
E1-2 | 8
E2-1 | 2
E2-2 | 1
F1-1P | 11
F1-2P | 1
F5-1 | 1
G1.10.1.1 | 3
G1.15.1.1 | 4
G1.15.1.2 | 1
G1.25.1.1 | 3
G1.37.1.1 | 1
G105 | 3
G106 | 7
J10 | 4
K10C | 1
K11C | 10
M2-11 | 8
M2-12 | 3
M5-20 | 1
M5-20E | 1
M5-9F | 1
UA1FG | 3
UA2 | 1
UM5 | 2
UM6-1 | 1
VA7X | 1
VM5-20 | 8
|  | TOTAL | 0

## TABLES A & B
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE A. Unit Material Values of LCR Units Chargeable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 3 | 364.67 | 1094.01
G1.15.1.1 | 4 | 599.68 | 2398.72
G1.15.1.2 | 1 | 782.64 | 782.64
G1.25.1.1 | 3 | 639.54 | 1918.62
G1.37.1.1 | 1 | 806.21 | 806.21
Note: (Put Transformer, Recloser, Conductor and Big Salvageable items in this table with costs)
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE B. Values of Unit Material Items of Creditable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 3 | 364.67 | 1094.01
G1.15.1.1 | 4 | 599.68 | 2398.72
G1.15.1.2 | 1 | 782.64 | 782.64
G1.25.1.1 | 3 | 639.54 | 1918.62
G1.37.1.1 | 1 | 806.21 | 806.21
Note: (Generally is the same as Table A but could be different)

## Part UR
UNIT | KEC NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
UR 2-S (40” x 24”) | 2885 |  | 0 | 0 | 0 | 0
UR 2-R (40” x 12”) | 1296 |  | 0 | 0 | 0 | 0
UR2-RS | 100 |  | 0 | 0 | 0 | 0
UR5-P (40") |  |  | 0 | 0 | 0 | 0
UR7-B (2") | 40 |  | 0 | 0 | 0 | 0
UR7-B (3") |  |  | 0 | 0 | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units | [5 empty] | 0
Contractor to provide 2 and 3 inch Red or Grey Poly Schedule 40 Conduit plus associated couplers for boring units in bid, see NEW CONST UNITS tab.

## Part LCN - Not Explicit
The following descriptioons apply only to those new units not sufficiently explicit:
Unit | Description
1/0-25KV | 1/0 AL, 260 MIL JACKETED POWER CABLE
350 URD | 350 kCM AL TRIPLEX, 600 VOLT UNDERGROUND SERVICE CABLE
4/0 URD | 4/0 AL QUADROPLEXED, 600 VOLT UNDERGROUND SERVICE CABLE
2 TRI | SEC OVH CONDUCTOR 2 TRI
4 TRI | SEC OVH CONDUCTOR 4 TRI
4ACSR | PRI OVH CONDUCTOR 4 ACSR
6HDC | N0. 6 HARD DRAWN COPPER WIRE
20-5 | TREATED WOOD POLE, 20 FOOT CLASS 5
25-6 | TREATED WOOD POLE, 25 FOOT CLASS 6
30-5 | TREATED WOOD POLE, 30 FOOT CLASS 5
35-7 | TREATED WOOD POLE, 35 FOOT CLASS 7
35-5 | TREATED WOOD POLE, 35 FOOT CLASS 5
35-4 | TREATED WOOD POLE, 35 FOOT CLASS 4
40-5 | TREATED WOOD POLE, 40 FOOT CLASS 5
40-3 | TREATED WOOD POLE, 40 FOOT CLASS 3
40-4 | TREATED WOOD POLE, 40 FOOT CLASS 4
45-4 | TREATED WOOD POLE, 45 FOOT CLASS 4
45-3 | TREATED WOOD POLE, 45 FOOT CLASS 3
CT WIRE | WIRING FOR CT METER
F20S | FUSE, 20AMP STANDARD
F40S | FUSE, 40AMP STANDARD
F12CL | FUSE, 12AMP CURRENT LIMITING
F12-CL-UG | FUSE, 12AMP CURRENT LIMITING UG
F20-CL-UG | FUSE, 20 AMP CURRENT LIMITING UG
PVC-2 | CONDUIT, 2 INCH PVC, SCHEDULE 40, GREY
PVC-2SWEEP | CONDUIT SWEEP, 2 INCH PVC, SCHEDULE 40, GREY
PVC-3 | CONDUIT, 3 INCH PVC, SCHEDULE 40, GREY
PVC-3SWEEP | CONDUIT SWEEP, 3 INCH PVC, SCHEDULE 40, GREY
G1.10.1.1 | Single Voltage 10kVA Pole Mount Transformer
G1.15.1.1 | Single Voltage 15kVA Pole Mount Transformer
G1.15.1.2 | Single Voltage 15kVA Pole Mount Transformer
G1.25.1.1 | Single Voltage 25kVA Pole Mount Transformer
G1.37.1.1 | Single Voltage 37kVA Pole Mount Transformer
VG1.15.1.2 | Dual Voltage 15kVA Pole Mount Transformer
VG1.25.1.2 | Dual Voltage 25kVA Pole Mount Transformer
VG1.37.1.2 | Dual Voltage 37kVA Pole Mount Transformer
VUG1.100.1.9 | Dual Voltage 100kVA Padmount Transformer
VUG1.15.1.9 | Dual Voltage 15kVA Padmount Transformer
VUG1.25.1.9 | Dual Voltage 25kVA Padmount Transformer
VUG1.50.1.9 | Dual Voltage 50kVA Padmount Transformer

## NEW CONST UNITS
PART LCN --NEW CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
1/0-25KV | 4470 |  |  | 2.24 | 2.24 | 10012.8
2 TRI | 233 |  |  | 0.64 | 0.64 | 149.12
30-5 | 3 |  |  | 314.99 | 314.99 | 944.97
350 URD | 140 |  |  | 2.4 | 2.4 | 336
35-4 | 1 |  |  | 420.82 | 420.82 | 420.82
35-5 | 1 |  |  | 400.3 | 400.3 | 400.3
4 ACSR | 6806 |  |  | 0.13 | 0.13 | 884.78
4/0 URD | 595 |  |  | 1.5 | 1.5 | 892.5
40-3 | 1 |  |  | 669.7 | 669.7 | 669.7
40-4 | 6 |  |  | 561.07 | 561.07 | 3366.42
45-3 | 1 |  |  | 728.16 | 728.16 | 728.16
E1-2 | 11 |  |  | 44.74 | 44.74 | 492.14
E1EHS | 2 |  |  | 34.1 | 34.1 | 68.2
E2-2 | 1 |  |  | 64.08 | 64.08 | 64.08
E3-10 | 12 |  |  | 6.15 | 6.15 | 73.8
F12CL | 3 |  |  | 255 | 255 | 765
F12-CL-UG | 1 |  |  | 251.25 | 251.25 | 251.25
F1-2P | 12 |  |  | 43.82 | 43.82 | 525.84
F20-CL-UG | 4 |  |  | 251 | 251 | 1004
F20S | 1 |  |  | 5.5 | 5.5 | 5.5
F40S | 2 |  |  | 5.75 | 5.75 | 11.5
G1.4X | 2 |  |  | 12.32 | 12.32 | 24.64
G10 | 1 |  |  | 11.12 | 11.12 | 11.12
J10 | 2 |  |  | 7.72 | 7.72 | 15.44
K11C | 10 |  |  | 8.39 | 8.39 | 83.9
M2-11 | 8 |  |  | 14.93 | 14.93 | 119.44
M5-23X-10' | 1 |  |  | 48.15 | 48.15 | 48.15
M5-23X-12' | 12 |  |  | 48.15 | 48.15 | 577.8
M5-27 | 2 |  |  | 8.84 | 8.84 | 17.68
M6-4 | 1 |  |  | 242.57 | 242.57 | 242.57
PVC-2 | 5326 |  |  | 0.69 | 0.69 | 3674.94
PVC-2SWEEP | 77 |  |  | 4.27 | 4.27 | 328.79
PVC-3 | 80 |  |  | 0.69 | 0.69 | 55.2
PVC-3SWEEP | 4 |  |  | 10.17 | 10.17 | 40.68
UA1FG | 1 |  |  | 383.73 | 383.73 | 383.73
UA1FG OVH | 1 |  |  | 383.73 | 383.73 | 383.73
UG7 | 4 |  |  | 108.88 | 108.88 | 435.52
UG7X | 6 |  |  | 129.73 | 129.73 | 778.38
UJ2-4 | 27 |  |  | 7.88 | 7.88 | 212.76
UJ2-8 | 3 |  |  | 7.88 | 7.88 | 23.64
UM1-7-1X | 2 |  |  | 242.13 | 242.13 | 484.26
UM1-7-3M | 2 |  |  | 481.24 | 481.24 | 962.48
UM1-7NC | 2 |  |  | 286.15 | 286.15 | 572.3
UM1-7NCX | 8 |  |  | 222.82 | 222.82 | 1782.56
UM3-14X | 2 |  |  | 457.61 | 457.61 | 915.22
UM33M | 2 |  |  | 789.03 | 789.03 | 1578.06
UM5 | 7 |  |  | 92.7 | 92.7 | 648.9
UM6-1 | 13 |  |  | 57.4 | 57.4 | 746.2
UM6-10 | 17 |  |  | 36.55 | 36.55 | 621.35
UM6-12S | 15 |  |  | 18.35 | 18.35 | 275.25
UM6-2 | 4 |  |  | 407.86 | 407.86 | 1631.44
UM6-4 | 17 |  |  | 194.44 | 194.44 | 3305.48
UM6-5 | 1 |  |  | 210 | 210 | 210
VA7C-5 | 7 |  |  | 180.99 | 180.99 | 1266.93
VA8C-5 | 4 |  |  | 210.89 | 210.89 | 843.56
VA9-1C-5 | 2 |  |  | 134.49 | 134.49 | 268.98
VG1.15.1.2 | 1 |  |  | 848.81 | 848.81 | 848.81
VG1.25.1.2 | 1 |  |  | 990.9 | 990.9 | 990.9
VG1.37.1.2 | 2 |  |  | 1155.57 | 1155.57 | 2311.14
VG1.4X | 1 |  |  | 12.32 | 12.32 | 12.32
VM5-20E | 6 |  |  | 15.08 | 15.08 | 90.48
VM5-5 | 7 |  |  | 22.47 | 22.47 | 157.29
VM5-9F | 3 |  |  | 117.17 | 117.17 | 351.51
VM5-9FTRANS | 3 |  |  | 108.73 | 108.73 | 326.19
VUA1FG | 1 |  |  | 381.23 | 381.23 | 381.23
VUC1FG | 1 |  |  | 1058.21 | 1058.21 | 1058.21
VUG1.100.1.9 | 1 |  |  | 3351.72 | 3351.72 | 3351.72
VUG1.15.1.9 | 6 |  |  | 1688.92 | 1688.92 | 10133.52
VUG1.25.1.9 | 2 |  |  | 1804.23 | 1804.23 | 3608.46
VUG1.50.1.9 | 1 |  |  | 2220.7 | 2220.7 | 2220.7
VUM6-22 | 8 |  |  | 241.2 | 241.2 | 1929.6
73410.04

## SWPPP
STORMWATER POLLUTION PREVENTION PLAN (SWPPP)
Unit | Description | Unit Qty | Quantity | Materials | Labor | Labor & Materials | Extended Price
BMP-35 | Fiber Roll | 1 foot | 700 |  |  | 0 | 0
BMP-36 | Silt Fence | 1 foot | 200 |  |  | 0 | 0
SWPPP | Balance of SWPPP | 1 lot |  |  |  | 0 | 0
Total | [6 empty] | 0

## Owner Furnished Material
OWNER FURNISHED MATERIALS LIST
ITEM | DESCRIPTION | QTY | UNIT | PRICE EA | EXTENDED
20340 | BOLT, MACHINE 1/2" | 7 | EA | 1.1 | 7.7
20350 | BOLT MACHINE 5/8" | 83 | EA | 1.04 | 82.87
20800 | BRACKET, STANDOFF W/STRAPS | 44 | EA | 16.5 | 726
20900 | CLAMP, GROUND ROD | 24 | EA | 2.25 | 54
20950 | CLAMP, GUY BONDING | 13 | EA | 2.8 | 36.4
21000 | CLAMP, HOT LINE | 13 | EA | 8.44 | 109.72
21050 | CLAMP, WEDGE TUBE | 10 | EA | 1.49 | 14.9
21210 | CLEVIS, THIMBLE | 15 | EA | 13 | 195
21250 | CONNECTOR, SECONDARY | 30 | EA | 7.88 | 236.4
21549 | CLAMP, DEADEND OR AUTO | 15 | EA | 6.85 | 102.75
21551 | DEADEND GUY (PREFORMED) | 28 | EA | 2.35 | 65.8
21554 | CLAMP, DEADEND PREFORMED | 15 | EA | 3 | 45
21652 | LOAD BREAK INSERT - DOUBLE | 1 | EA | 210 | 210
21767 | FUSE 20-AMP STANDARD | 1 | EA | 5.5 | 5.5
21770 | FUSE 40-AMP STANDARD | 2 | EA | 5.75 | 11.5
21800 | GUY GUARD | 12 | EA | 6.15 | 73.8
21893 | FUSE 12-AMP CURRENT LIMITING | 3 | EA | 255 | 765
21899 | FUSE 12-AMP CURRENT LIMITING UG | 1 | EA | 251.25 | 251.25
21902 | FUSE 20-AMP CURRENT LIMITING UG | 4 | EA | 251 | 1004
22050 | INSULATOR, SPOOL | 27 | EA | 1.24 | 33.48
22060 | J LAG | 4 | EA | 0.88 | 3.52
22300 | KELLUM | 6 | EA | 29.1 | 174.6
23000 | PVC-2 SWEEP 90Â° | 77 | EA | 4.27 | 328.79
23015 | PVC-3 SWEEP 90Â° | 4 | EA | 10.17 | 40.68
23195 | POLE TOP CAP | 2 | EA | 6 | 12
23800 | SCREW, LAG | 103 | EA | 0.75 | 77.25
23823 | SNOW MARKER | 15 | EA | 18.35 | 275.25
23850 | SHACKLE, ANCHOR | 13 | EA | 6.49 | 84.37
24400 | WASHERS, SQUARE | 4 | EA | 0.3 | 1.2
24401 | WASHERS, SQUARE 2X2 | 1 | EA | 0.3 | 0.3
24410 | WASHERS, ROUND | 12 | EA | 0.37 | 4.44
24417 | WASHERS, CURVED 3X3 | 90 | EA | 0.9 | 81
26150 | WIRE, JUMPERS | 898 | EA | 0 | 0
20100 | ANCHOR, PLATE 16" | 12 | EA | 20.81 | 249.72
20150 | ARRESTOR, LIGHTNING | 6 | EA | 53.46 | 320.76
20600 | BRACKET, FIBERGLASS ARM 1-PH | 3 | EA | 38.97 | 116.91
20610 | BRACKET, FIBERGLASS ARM 3-PH | 1 | ea | 174.67 | 174.67
21150 | CLEVIS, STATIONARY | 2 | EA | 5.44 | 10.88
21200 | CLEVIS, SWINGING | 25 | EA | 3.72 | 93
21351 | CROSSARM, 5' (COMPOSITE-DE) | 11 | EA | 144.39 | 1588.29
21352 | CROSSARM, 5' (COMPOSITE-TANGENT) | 2 | EA | 86.78 | 173.56
21450 | CUTOUT | 12 | EA | 108.73 | 1304.76
21500 | CULVERT (USED WITH PAD SHRUB/RR) | 8 | EA | 105.39 | 843.12
21505 | CULVERT (LARGE SLEEVE-SHRUB) | 2 | EA | 286.15 | 572.3
21510 | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) | 8 | EA | 117.43 | 939.44
21535 | GROUND SLEEVE (1-PH 200/600AMP MOD) | 2 | EA | 242.13 | 484.26
21543 | GND SLEEVE 3-PH 200AMP MOD 64 x 24 x 18 | 2 | EA | 481.24 | 962.48
21650 | ELBOW | 29 | EA | 57.4 | 1664.6
21655 | ELBOW, FUSED 15kv | 4 | EA | 407.86 | 1631.44
21670 | FAULT INDICATORS (URD-SMALL CORE) | 17 | EA | 194.44 | 3305.48
21671 | FAULT INDICATORS (OVERHEAD) | 1 | EA | 242.57 | 242.57
21710 | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) | 13 | EA | 7.95 | 103.35
21950 | INSULATOR, PIN TYPE 14.4 | 9 | EA | 9.67 | 87.03
22020 | INSULATOR, WHITE GLASS | 2 | EA | 5.71 | 11.42
22090 | INSULATOR, POLYMER (EPOXI) | 21 | EA | 15.08 | 316.68
22150 | INSULATOR, STRAIN | 13 | EA | 41.66 | 541.58
22200 | INSULATED CAPS | 21 | EA | 36.55 | 767.55
22265 | JUNCTION 4-POS 25KV 200AMP | 8 | EA | 241.4 | 1931.2
22802 | MODULE 1-PH 200/600AMP | 2 | EA | 442.68 | 885.36
22812 | MODULE 3-PH 200AMP (L64 X W24 X H30) | 2 | EA | 759.17 | 1518.34
22900 | PINS, CROSSARM | 11 | EA | 12.8 | 140.8
23050 | PIPE, PVC | 5796 | FT | 0.69 | 3999.24
23360 | POLE 30-5 | 3 | EA | 314.99 | 944.97
23410 | POLE 35-5 | 1 | EA | 400.3 | 400.3
23420 | POLE 35-4 | 1 | EA | 420.82 | 420.82
23470 | POLE 40-4 | 6 | EA | 561.07 | 3366.42
23480 | POLE 40-3 | 1 | EA | 669.7 | 669.7
23520 | POLE 45-3 | 1 | EA | 728.16 | 728.16
23700 | ROD, ANCHOR PLATE | 12 | EA | 23.01 | 276.12
23750 | ROD, GROUND | 24 | EA | 12.68 | 304.32
24250 | TERMINATOR | 6 | EA | 45.52 | 273.12
24600 | WIRE GUY 3/8" | 560 | FT | 0.34 | 190.4
24750 | WIRE 4/0 URD TRI | 595 | FT | 1.5 | 892.5
24760 | WIRE 350 URD TRI | 140 | FT | 2.4 | 336
25300 | WIRE #2 TRI (OVH) | 233 | FT | 0.64 | 149.12
25400 | WIRE 4 ACSR | 6806 | FT | 0.13 | 884.78
26005 | WIRE 1/0 25KV 260ML URD | 4470 | FT | 2.24 | 10012.8
5024 | 15KVA DV 120/240 D/B 1PH OVH | 1 | EA | 848.81 | 848.81
5034 | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 | 6 | EA | 1688.92 | 10133.52
5044 | 25KVA DV 120/240 D/B 1PH OVH | 1 | EA | 990.9 | 990.9
5064 | 37.5 DV 120/240 D/B 1PH OVH | 2 | EA | 1155.57 | 2311.14
5073 | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 | 2 | EA | 1804.23 | 3608.46
5102 | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 | 1 | EA | 2220.7 | 2220.7
5118 | 100KVA DV 120/240 S/L FUSED 1PH URD FR3 | 1 | EA | 3351.72 | 3351.72
73410.04

## CONSTRUCTION PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-11 |  | 11:58 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16513 | [7 empty] | Description: |  | Twin Beaches Area Conversion (N Section) |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 340 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | JEREMY HOFER |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Construction
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 7 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 83 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 44 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 24 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 13 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 13 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 10 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 15 | EA
E | * | 21250 | [6 empty] | CONNECTOR, SECONDARY |  |  | 30 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 15 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 28 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 15 | EA
E | * | 21652 | [6 empty] | LOAD BREAK INSERT - DOUBLE |  |  | 1 | EA
E | * | 21767 | [6 empty] | FUSE 20-AMP STANDARD |  |  | 1 | EA
E | * | 21770 | [6 empty] | FUSE 40-AMP STANDARD |  |  | 2 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 12 | EA
E | * | 21893 | [6 empty] | FUSE 12-AMP CURRENT LIMITING |  |  | 3 | EA
E | * | 21899 | [6 empty] | FUSE 12-AMP CURRENT LIMITING UG |  |  | 1 | EA
E | * | 21902 | [6 empty] | FUSE 20-AMP CURRENT LIMITING UG |  |  | 4 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 27 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 4 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 6 | EA
E | * | 23000 | [6 empty] | PVC-2 SWEEP 90° |  |  | 77 | EA
E | * | 23015 | [6 empty] | PVC-3 SWEEP 90° |  |  | 4 | EA
E | * | 23195 | [6 empty] | POLE TOP CAP |  |  | 2 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 103 | EA
E | * | 23823 | [6 empty] | SNOW MARKER |  |  | 15 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 13 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 4 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 1 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 12 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 90 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 898 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 12 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 6 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 3 | EA
L | 20610 | [7 empty] | BRACKET, FIBERGLASS ARM 3-PH |  |  | 1 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 2 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 25 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 11 | EA
L | 21352 | [7 empty] | CROSSARM, 5' (COMPOSITE-TANGENT) |  |  | 2 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 12 | EA
L | 21500 | [7 empty] | CULVERT (USED WITH PAD SHRUB/RR) |  |  | 8 | EA
L | 21505 | [7 empty] | CULVERT (LARGE SLEEVE-SHRUB) |  |  | 2 | EA
L | 21510 | [7 empty] | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) |  |  | 8 | EA
L | 21535 | [7 empty] | GROUND SLEEVE (1-PH 200/600AMP MOD) |  |  | 2 | EA
L | 21543 | [7 empty] | GND SLEEVE 3-PH 200AMP MOD 64 x 24 x 18 |  |  | 2 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 29 | EA
L | 21655 | [7 empty] | ELBOW, FUSED 15kv |  |  | 4 | EA
L | 21670 | [7 empty] | FAULT INDICATORS (URD-SMALL CORE) |  |  | 17 | EA
L | 21671 | [7 empty] | FAULT INDICATORS (OVERHEAD) |  |  | 1 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 13 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 9 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 2 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 21 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 13 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 21 | EA
L | 22265 | [7 empty] | JUNCTION 4-POS 25KV 200AMP |  |  | 8 | EA
L | 22802 | [7 empty] | MODULE 1-PH 200/600AMP |  |  | 2 | EA
L | 22812 | [7 empty] | MODULE 3-PH 200AMP (L64 X W24 X H30) |  |  | 2 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 11 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 5796 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 3 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 1 | EA
L | 23420 | [7 empty] | POLE 35-4 |  |  | 1 | EA
L | 23470 | [7 empty] | POLE 40-4 |  |  | 6 | EA
L | 23480 | [7 empty] | POLE 40-3 |  |  | 1 | EA
L | 23520 | [7 empty] | POLE 45-3 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 12 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 24 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 6 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 560 | EA
L | 24750 | [7 empty] | WIRE 4/0 URD TRI |  |  | 595 | EA
L | 24760 | [7 empty] | WIRE 350 URD TRI |  |  | 140 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 233 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 6806 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 4470 | EA
S | 5024 | [7 empty] | 15KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5034 | [7 empty] | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 6 | EA
S | 5044 | [7 empty] | 25KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5064 | [7 empty] | 37.5 DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5073 | [7 empty] | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 2 | EA
S | 5102 | [7 empty] | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 1 | EA
S | 5118 | [7 empty] | 100KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 1 | EA
[10 empty] | Total Quantity For Construction: |  | 20495
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Construction | [7 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 4470
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 233
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 3
[8 empty] | 35-4 - POLE, 35 FT CLASS 4 | [9 empty] | 1
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 1
[8 empty] | 350 URD - SEC. UG CABLE, 350 TRI | [9 empty] | 140
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 6806
[8 empty] | 4/0 URD - SEC. UG CABLE, 4/0 TRI | [9 empty] | 595
[8 empty] | 40-3 - POLE, 40 FT CLASS 3 | [9 empty] | 1
[8 empty] | 40-4 - POLE, 40 FT CLASS 4 | [9 empty] | 6
[8 empty] | 45-3 - POLE, 45 FT CLASS 3 | [9 empty] | 1
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 11
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 2
[8 empty] | E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE | [9 empty] | 1
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 12
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 12
[8 empty] | F12-CL-UG - FUSE 12-AMP CURRENT LIMITING UG | [9 empty] | 1
[8 empty] | F12CL - FUSE 12-AMP CURRENT LIMITING | [9 empty] | 3
[8 empty] | F20-CL-UG - FUSE 20-AMP CURRENT LIMITING UG | [9 empty] | 4
[8 empty] | F20S - FUSE 20-AMP STANDARD | [9 empty] | 1
[8 empty] | F40S - FUSE 40-AMP STANDARD | [9 empty] | 2
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 2
[8 empty] | G10 - 7.2KV 1-PH TRNSFMR @ DE | [9 empty] | 1
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 2
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 10
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 8
[8 empty] | M5-23X-10' - 7.2KV PRI ASSEMBLY (10' STRAIN INSUL) | [9 empty] | 1
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 12
[8 empty] | M5-27 - POLE TOP CAP | [9 empty] | 2
[8 empty] | M6-4 - FAULT INDICATOR (OVERHEAD) | [9 empty] | 1
[8 empty] | POLY-2 PVC ADAPTER - POLY-PVC 2" ADAPTER | [9 empty] | 2
[8 empty] | PVC-2 - PVC 2" | [9 empty] | 4841
[8 empty] | PVC-2STUB - PVC 2" STUB OUT | [9 empty] | 485
[8 empty] | PVC-2SWEEP - PVC 2" SWEEP 90° | [9 empty] | 77
[8 empty] | PVC-3 - PVC 3" | [9 empty] | 80
[8 empty] | PVC-3SWEEP - PVC 3" SWEEP 90° | [9 empty] | 4
[8 empty] | UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM | [9 empty] | 1
[8 empty] | UA1FG OVH - 1-PH CBL TERM W/CUTOUT/FG ARM URD SOURCE | [9 empty] | 1
[8 empty] | UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP | [9 empty] | 4
[8 empty] | UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS | [9 empty] | 6
[8 empty] | UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR | [9 empty] | 27
[8 empty] | UJ2-8 - SEC. CONNECTOR BLOCK | [9 empty] | 3
[8 empty] | UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD | [9 empty] | 2
[8 empty] | UM1-7-3M - GROUND SLEEVE 3-PH 200AMP MOD 64x24x18 | [9 empty] | 2
[8 empty] | UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large) | [9 empty] | 2
[8 empty] | UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR | [9 empty] | 8
[8 empty] | UM3-14X - 1-PH MODULE 200/600AMP (large cabinet) | [9 empty] | 2
[8 empty] | UM33M - 3-PH MODULE 200AMP (L64 x W24 x H30) | [9 empty] | 2
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 7
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 13
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 17
[8 empty] | UM6-12S - SNOW MARKER | [9 empty] | 15
[8 empty] | UM6-2 - PRI CBL TERM (FUSED ELBOW -15KV) | [9 empty] | 4
[8 empty] | UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500 | [9 empty] | 17
[8 empty] | UM6-5 - Y BUSHING (LOAD BREAK INSERT) | [9 empty] | 1
[8 empty] | UR2-R - TRENCHING ROCK | [9 empty] | 1296
[8 empty] | UR2-RS - ROCK SAWING | [9 empty] | 100
[8 empty] | UR2-S - TRENCHING SOIL | [9 empty] | 2885
[8 empty] | UR7-B2 - BORING 2" | [9 empty] | 40
[8 empty] | VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE | [9 empty] | 7
[8 empty] | VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE | [9 empty] | 4
[8 empty] | VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT | [9 empty] | 2
[8 empty] | VG1.15.1.2 - DV OVH 15KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG1.25.1.2 - DV OVH 25KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VG1.37.1.2 - DV OVH 37KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.4X - 14.4KV 1-PH TRANS CONV @ HORZ D.E. | [9 empty] | 1
[8 empty] | VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR) | [9 empty] | 6
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 7
[8 empty] | VM5-9F - 14.4KV CUTOUT, FUSED | [9 empty] | 3
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 3
[8 empty] | VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM | [9 empty] | 1
[8 empty] | VUC1FG - 3-PH 14.4 CBL TERM W/CUTOUT/FG ARM | [9 empty] | 1
[8 empty] | VUG1.100.1.9 - DV URD 100KVA 120/240 S/L FUSED FR3 | [9 empty] | 1
[8 empty] | VUG1.15.1.9 - DV URD 15KVA 120/240 S/L FR3 | [9 empty] | 6
[8 empty] | VUG1.25.1.9 - DV URD 25KVA 120/240 S/L FR3 | [9 empty] | 2
[8 empty] | VUG1.50.1.9 - DV URD 50KVA 120/240 S/L FR3 | [9 empty] | 1
[8 empty] | VUM6-22 - JUNCTION 4-PO 200AMP 25KV | [9 empty] | 8

## RETIRMENT PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-11 |  | 11:59 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16513 | [7 empty] | Description: |  | Twin Beaches Area Conversion (N Section) |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 340 |  | Open Date: |  |  | 2016-10-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | JEREMY HOFER |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Retirement
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20200 | [6 empty] | BOLT, CARRIAGE |  |  | 38 | EA
E | * | 20250 | [6 empty] | BOLT D.A. 5/8" |  |  | 24 | EA
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 27 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 7 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 93 | EA
E | * | 20400 | [6 empty] | BOLT, UPSET |  |  | 3 | EA
E | * | 20450 | [6 empty] | BOLT THIMBLE EYE 5/8 |  |  | 2 | EA
E | * | 20700 | [6 empty] | BRACKET, "L" SHAPED |  |  | 1 | EA
E | * | 20750 | [6 empty] | BRACKET, NEUTRAL OFF |  |  | 3 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 24 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 8 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 17 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 19 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 11 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 10 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 25 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 40 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 25 | EA
E | * | 21664 | [6 empty] | GUY ATTACHMENT (FROG) |  |  | 9 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 45 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 4 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 4 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 35 | EA
E | * | 22770 | [6 empty] | NUTS, THIMBLE EYE 5/ |  |  | 2 | EA
E | * | 23100 | [6 empty] | PLATE, GROUND BUTT |  |  | 3 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 84 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 1 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 3 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 124 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 7 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 114 | EA
E | * | 24500 | [6 empty] | WIREHOLDER K-10 |  |  | 1 | EA
E | * | 25000 | [6 empty] | WIRE, 6 HDC |  |  | 12248 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 1000 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 12 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 4 | EA
L | 20550 | [7 empty] | BRACE CROSSARM 28" |  |  | 38 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 3 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 4 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 35 | EA
L | 21330 | [7 empty] | CROSSARM, 5' (WOOD) |  |  | 18 | EA
L | 21340 | [7 empty] | CROSSARM, 8' (WOOD) |  |  | 1 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 5 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 1 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 10 | EA
L | 22000 | [7 empty] | INSULATOR, PIN TYPE 7.2 |  |  | 11 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 5 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 25 | EA
L | 22100 | [7 empty] | INSULATOR, SUSPENSIO |  |  | 28 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 10 | EA
L | 22950 | [7 empty] | PINS, POLE TOP |  |  | 6 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 180 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 5 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 7 | EA
L | 23460 | [7 empty] | POLE 40-5 |  |  | 7 | EA
L | 23470 | [7 empty] | POLE 40-4 |  |  | 1 | EA
L | 23515 | [7 empty] | POLE 45-4 |  |  | 1 | EA
L | 23520 | [7 empty] | POLE 45-3 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 13 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 8 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 4 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 910 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 665 | EA
L | 25310 | [7 empty] | WIRE #4 TRI (OVH) |  |  | 19 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 966 | EA
L | 25800 | [7 empty] | WIRE 2-15KV (URD) |  |  | 70 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 69 | EA
S | 5004 | [7 empty] | 10KVA 7.2 120/240 CSP 1PH OVH |  |  | 3 | EA
S | 5015 | [7 empty] | 15KVA 7.2 120/240 CSP 1PH OVH |  |  | 4 | EA
S | 5016 | [7 empty] | 15KVA 7.2 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5035 | [7 empty] | 25KVA 7.2 120/240 CSP 1PH OVH |  |  | 3 | EA
S | 5055 | [7 empty] | 37.5KVA 7.2 120/240 CSP 1PH OVH |  |  | 1 | EA
[10 empty] | Total Quantity For Retirement: |  | 17215
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Retirement | [7 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 69
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 665
[8 empty] | 2-15KV - PRI. UG CABLE, 2STR-15KV | [9 empty] | 70
[8 empty] | 20-5 - POLE, 20 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | 25-6 - POLE, 25 FT CLASS 6 (RETIRMENT ONLY) | [9 empty] | 1
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 5
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 7
[8 empty] | 35-7 - POLE, 35 FT CLASS 7(RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 966
[8 empty] | 4 TRI - SEC. OVH CONDUCTOR, 4 TRI | [9 empty] | 19
[8 empty] | 40-4 - POLE, 40 FT CLASS 4 | [9 empty] | 1
[8 empty] | 40-5 - POLE, 40 FT CLASS 5 | [9 empty] | 7
[8 empty] | 45-3 - POLE, 45 FT CLASS 3 | [9 empty] | 1
[8 empty] | 45-4 - POLE, 45 FT CLASS 4 | [9 empty] | 1
[8 empty] | 6HDC - PRI. OVH CONDUCTOR, 6HDC | [9 empty] | 12248
[8 empty] | A1 - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 3
[8 empty] | A1A - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 3
[8 empty] | A4 - 7.2KV 1-PH PRI 60-90 ANGLE | [9 empty] | 2
[8 empty] | A5 - 7.2KV 1-PH PRI DEADEND | [9 empty] | 2
[8 empty] | A5 BELLS - 7.2KV 1-PH PRI DEADEND | [9 empty] | 1
[8 empty] | A5-1 - 7.2KV 1-PH PRI TAP | [9 empty] | 4
[8 empty] | A5-2 - 7.2KV 1-PH PRI TAP | [9 empty] | 1
[8 empty] | A5-3 - 7.2KV 1-PH PRI TAP | [9 empty] | 1
[8 empty] | A6 - 7.2KV 1-PH PRI VERTICAL DBLE DE | [9 empty] | 1
[8 empty] | A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE | [9 empty] | 3
[8 empty] | A8X - 7.2KV 1-PH X-ARM 5' DBLE DE | [9 empty] | 3
[8 empty] | A9-1 - 7.2KV 1-PH X-ARM SNGLE LINE ARM | [9 empty] | 1
[8 empty] | A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE | [9 empty] | 2
[8 empty] | A9X - 7.2KV 1-PH X-ARM 5' DBLE LINE | [9 empty] | 1
[8 empty] | CT WIRE - CT WIRE | [9 empty] | 73
[8 empty] | E1-1 - 7.2KV SERV DOWN GUY (FROG) | [9 empty] | 9
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 8
[8 empty] | E2-1 - 7.2KV SERV OVH GUY THROUGH BOLT | [9 empty] | 2
[8 empty] | E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE | [9 empty] | 1
[8 empty] | F1-1P - LINE ANCHOR ASSEMBLY (PLATE) | [9 empty] | 11
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 1
[8 empty] | F5-1 - ROCK ANCHOR ASSEMBLY | [9 empty] | 1
[8 empty] | G1.10.1.1 - 7200OVH 10KVA 120/240 CSP | [9 empty] | 3
[8 empty] | G1.15.1.1 - 7200OVH 15KVA 120/240 CSP | [9 empty] | 4
[8 empty] | G1.15.1.2 - 7200OVH 15KVA 120/240 D/B | [9 empty] | 1
[8 empty] | G1.25.1.1 - 7200OVH 25KVA 120/40 CSP | [9 empty] | 3
[8 empty] | G1.37.1.1 - 7200OVH 37KVA 120/240 CSP | [9 empty] | 1
[8 empty] | G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT | [9 empty] | 3
[8 empty] | G106 - 7.2KV 1-PH TRNS CSP @ DEAD END | [9 empty] | 7
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 4
[8 empty] | K10C - SERV ASSEMBLY | [9 empty] | 1
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 10
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 8
[8 empty] | M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE | [9 empty] | 3
[8 empty] | M5-20 - 7.2KV PRI ASSY (2-SUSP) (RETIRE ONLY) | [9 empty] | 1
[8 empty] | M5-20E - 7.2KV PRI ASSEMBLY (EPOXILATOR) | [9 empty] | 1
[8 empty] | M5-9F - 7.2KV CUTOUT FUSED (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM | [9 empty] | 3
[8 empty] | UA2 - 1-PH CBL TERM POLE - URD SOURCE | [9 empty] | 1
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 2
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 1
[8 empty] | VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE) | [9 empty] | 1
[8 empty] | VM5-20 - 14.4KV PRI. ASSEMBLY (RETIREMENT ONLY) | [9 empty] | 8

## Assemblies
A1 - 7.2KV 1-PH SNGLE PRI SUPPRT
A1A - 7.2KV 1-PH SNGLE PRI SUPPRT
A4 - 7.2KV 1-PH PRI 60-90 ANGLE
A5 - 7.2KV 1-PH PRI DEADEND
A5 BELLS - 7.2KV 1-PH PRI DEADEND
A5-1 - 7.2KV 1-PH PRI TAP
A5-2 - 7.2KV 1-PH PRI TAP
A5-3 - 7.2KV 1-PH PRI TAP
A6 - 7.2KV 1-PH PRI VERTICAL DBLE DE
A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE
A8X - 7.2KV 1-PH X-ARM 5' DBLE DE
A9-1 - 7.2KV 1-PH X-ARM SNGLE LINE ARM
A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE
A9X - 7.2KV 1-PH X-ARM 5' DBLE LINE
E1-1 - 7.2KV SERV DOWN GUY (FROG)
E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD)
E1EHS - GUY WIRE 3/8 EXTRA HS
E2-1 - 7.2KV SERV OVH GUY THROUGH BOLT
E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE
E3-10 - GUY GUARD
F1-1P - LINE ANCHOR ASSEMBLY (PLATE)
F1-2P - PLATE ANCHOR 16"
F5-1 - ROCK ANCHOR ASSEMBLY
G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE
G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT
G106 - 7.2KV 1-PH TRNS CSP @ DEAD END
J10 - SEC ASSEMBLY (5 TO 60 DEGREE)
K10C - SERV ASSEMBLY
K11C - SERV ASSEMBLY
M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD
M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE
M5-20 - 7.2KV PRI ASSY (2-SUSP) (RETIRE ONLY)
M5-20E - 7.2KV PRI ASSEMBLY (EPOXILATOR)
M5-23X-10' - 7.2KV PRI ASSEMBLY (10' STRAIN INSUL)
M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL)
M5-27 - POLE TOP CAP
M5-9F - 7.2KV CUTOUT FUSED (RETIREMENT ONLY)
M6-4 - FAULT INDICATOR (OVERHEAD)
UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM
UA1FG OVH - 1-PH CBL TERM W/CUTOUT/FG ARM URD SOURCE
UA2 - 1-PH CBL TERM POLE - URD SOURCE
UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP
UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS
UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR
UJ2-8 - SEC. CONNECTOR BLOCK
UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD
UM1-7-3M - GROUND SLEEVE 3-PH 200AMP MOD 64x24x18
UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large)
UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR
UM3-14X - 1-PH MODULE 200/600AMP (large cabinet)
UM33M - 3-PH MODULE 200AMP (L64 x W24 x H30)
UM5 - SECONDARY RISER
UM6-1 - PRI. CABLE TERMINATION-LOADBREAK
UM6-10 - INSULATED PROTECTIVE CAP (200 A)
UM6-12S - SNOW MARKER
UM6-2 - PRI CBL TERM (FUSED ELBOW -15KV)
UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500
UM6-5 - Y BUSHING (LOAD BREAK INSERT)
VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE
VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE)
VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE
VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT
VG1.4X - 14.4KV 1-PH TRANS CONV @ HORZ D.E.
VM5-20 - 14.4KV PRI. ASSEMBLY (RETIREMENT ONLY)
VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR)
VM5-5 - 14.4KV PRI. ASSEMBLY
VM5-9F - 14.4KV CUTOUT, FUSED
VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE (see VM5-9F)
VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM
VUC1FG - 3-PH 14.4 CBL TERM W/CUTOUT/FG ARM
VUM6-22 - JUNCTION 4-PO 200AMP 25KV