## PROPOSAL SUMMARY
PROPOSAL SUMMARY
DISTRIBUTION LINE CONSTRUCTION
| Line Change New Construction | 220434.96
Part LCN | Part LCN
| Line Removals | 0
Part LCR | Part LCR
| Trenching & Boring | 0
Part UR
| Stormwater Pollution Prevention Plan | 0
SWPPP
| TOTAL | 220434.96

## REMOVAL UNITS
Part LCR - REMOVAL CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF UNITS | LABOR
1/0 ACSR | 2558
1/0 TRI | 87
1/0-25KV | 160
2 TRI | 521
2-15KV | 250
30-5 | 3
35-5 | 18
35-6 | 1
4 ACSR | 6396
4 TRI | 479
4/0 URD | 200
40-3 | 2
40-5 | 19
40-6 | 2
45-4 | 4
45-5 | 3
55-4 | 1
6HDC | 20670
8A | 7408
A1 | 7
A1-1 | 1
A1A | 5
A2 | 3
A3 | 2
A4 | 8
A5 | 7
A5-1 | 8
A5-2 | 5
A6 | 2
A7-1 | 1
A7X | 5
A8 | 1
A8X | 5
A9 | 3
A9-1 | 2
A9-1X | 9
A9X | 3
E1-1 | 10
E1-2 | 46
E1EHS | 1
E2-2 | 4
E3-10 | 10
F1-1P | 4
F1-2P | 38
F30S | 1
G1.10.1.1 | 4
G1.15.1.1 | 8
G1.25.1.1 | 3
G1.25.1.2 | 3
G1.37.1.1 | 3
G1.37.1.2 | 1
G1.4X | 1
G1.50.1.1 | 1
G1.50.1.2 | 1
G105 | 8
G106 | 16
J10 | 6
K11C | 11
M2-11 | 10
M2-12 | 3
M5-14X | 1
M5-14XC | 1
M5-15 | 5
M5-20E | 1
M5-23X-10' | 2
M5-23X-12' | 1
M5-5 | 2
M5-5N | 2
M5-6MOV | 2
M5-9F | 1
M5-9LBF | 2
M5-9LBS | 1
PVC-3 | 10
R1.5.1 | 1
UA1 | 6
UA1FG | 4
UA2 | 5
UA3 | 1
UG1.100.1.3 | 1
UG7X | 1
UJ1-4 | 3
UJ2-4 | 3
UM1-7NC | 1
UM5 | 7
UM6-1 | 7
UM6-10 | 5
UM6-5 | 1
VA3 | 1
VA7X | 1
VA8C-5 | 1
VG1.15.1.1 | 1
VG1.15.1.2 | 1
VM5-20 | 1
VM5-20E | 2
VM5-5 | 2
VM5-9F | 1
VM5-9FTRANS | 4
VM5-9S | 1
VM8-15 | 1
VUA1FG | 1
|  | Total | 0

## TABLES A & B
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE A. Unit Material Values of LCR Units Chargeable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 357.51 | 1430.04
G1.15.1.1 | 8 | 599.68 | 4797.44
G1.25.1.1 | 3 | 639.54 | 1918.62
G1.25.1.2 | 3 | 903.76 | 2711.28
G1.37.1.1 | 3 | 806.21 | 2418.63
G1.37.1.2 | 1 | 1020.08 | 1020.08
G1.50.1.1 | 1 | 930.37 | 930.37
G1.50.1.2 | 1 | 1138.84 | 1138.84
UG1.100.1.3 | 1 | 2675.93 | 2675.93
VG1.15.1.1 | 1 | 904.1 | 904.1
VG1.15.1.2 | 1 | 848.81 | 848.81
R1.5.1 | 1 | 906.77 | 906.77
Note: (Put Transformer, Recloser, Conductor and Big Salvageable items in this table with costs)
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE B. Values of Unit Material Items of Creditable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
G1.10.1.1 | 4 | 357.51 | 1430.04
G1.15.1.1 | 8 | 599.68 | 4797.44
G1.25.1.1 | 3 | 639.54 | 1918.62
G1.25.1.2 | 3 | 903.76 | 2711.28
G1.37.1.1 | 3 | 806.21 | 2418.63
G1.37.1.2 | 1 | 1020.08 | 1020.08
G1.50.1.1 | 1 | 930.37 | 930.37
G1.50.1.2 | 1 | 1138.84 | 1138.84
UG1.100.1.3 | 1 | 2675.93 | 2675.93
VG1.15.1.1 | 1 | 904.1 | 904.1
VG1.15.1.2 | 1 | 848.81 | 848.81
R1.5.1 | 1 | 906.77 | 906.77
Note: (Generally is the same as Table A but could be different)

## Part UR
UNIT | KEC NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
UR 2-S (40” x 24”) | 13825 |  | 0 | 0 | 0 | 0
UR 2-R (40” x 12”) | 3420 |  | 0 | 0 | 0 | 0
UR2-RS |  |  | 0 | 0 | 0 | 0
UR5-P (40") |  |  | 0 | 0 | 0 | 0
UR7-B (2") | 2450 |  | 0 | 0 | 0 | 0
UR7-B (3") | 80 |  | 0 | 0 | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units | [5 empty] | 0
Contractor to provide 2 and 3 inch Red or Grey Poly Schedule 40 Conduit plus associated couplers for boring units in bid, see NEW CONST UNITS tab.

## Part LCN - Not Explicit
The following descriptioons apply only to those new units not sufficiently explicit:
Unit | Description
1/0-25KV | 1/0 AL, 260 MIL JACKETED POWER CABLE
350 URD | 350 kCM AL TRIPLEX, 600 VOLT UNDERGROUND SERVICE CABLE
4/0 URD | 4/0 AL QUADROPLEXED, 600 VOLT UNDERGROUND SERVICE CABLE
2 TRI | SEC OVH CONDUCTOR 2 TRI
2-15KV | PRI UG CABLE, 2 STR-15KV
4 TRI | SEC OVH CONDUCTOR 4 TRI
4ACSR | PRI OVH CONDUCTOR 4 ACSR
6HDC | N0. 6 HARD DRAWN COPPER WIRE
8A | PRI OVH CONDUCTOR, 8A
30-5 | TREATED WOOD POLE, 30 FOOT CLASS 5
35-6 | TREATED WOOD POLE, 35 FOOT CLASS 6
35-5 | TREATED WOOD POLE, 35 FOOT CLASS 5
40-6 | TREATED WOOD POLE, 40 FOOT CLASS 6
40-5 | TREATED WOOD POLE, 40 FOOT CLASS 5
40-3 | TREATED WOOD POLE, 40 FOOT CLASS 3
40-4 | TREATED WOOD POLE, 40 FOOT CLASS 4
45-5 | TREATED WOOD POLE 45 FOOT CLASS 5
45-4 | TREATED WOOD POLE, 45 FOOT CLASS 4
45-3 | TREATED WOOD POLE, 45 FOOT CLASS 3
45-2 DUCTILE IRON | DUCTILE IRON POLE, 45 FOOT CLASS 2
55-4 | TREATED WOOD POLE, 55 FOOT CLASS 4
CT METER 1-PH_URD | CT METER 1PH URD
F20S | FUSE, 20AMP STANDARD
F30S | FUSE, 30AMP STANDARD
F40S | FUSE, 40AMP STANDARD
F12-CL-UG | FUSE, 12AMP CURRENT LIMITING UG
F20-CL-UG | FUSE, 20 AMP CURRENT LIMITING UG
PVC-2 | CONDUIT, 2 INCH PVC, SCHEDULE 40, GREY
PVC-2SWEEP | CONDUIT SWEEP, 2 INCH PVC, SCHEDULE 40, GREY
PVC-2SWEEP 45 | CONDUIT SWEEP, 2 INCH PVC, SCHEDULE 40, GREY, 45
PVC-3 | CONDUIT, 3 INCH PVC, SCHEDULE 40, GREY
PVC-3SWEEP | CONDUIT SWEEP, 3 INCH PVC, SCHEDULE 40, GREY
G1.10.1.1 | Single Voltage 10kVA Pole Mount Transformer
G1.15.1.1 | Single Voltage 15kVA Pole Mount Transformer
G1.15.1.2 | Single Voltage 15kVA Pole Mount Transformer
G1.25.1.1 | Single Voltage 25kVA Pole Mount Transformer
G1.37.1.2 | Single Voltage 37kVA Pole Mount Transformer
G1.37.1.1 | Single Voltage 37kVA Pole Mount Transformer
VG1.15.1.2 | Dual Voltage 15kVA Pole Mount Transformer
G1.50.1.1 | Single Voltage 50kVA Pole Mount Transformer
G1.50.1.2 | Single Voltage 50kVA Pole Mount Transformer
VG1.15.1.1 | Dual Voltage 15kVA Pole Mount Transformer
VUG1.100.1.9 | Dual Voltage 100kVA Padmount Transformer
VUG1.15.1.9 | Dual Voltage 15kVA Padmount Transformer
VUG1.25.1.9 | Dual Voltage 25kVA Padmount Transformer
VUG1.37.1.9 | Dual Voltage 37kVA Padmount Transformer
VUG1.50.1.9 | Dual Voltage 50kVA Padmount Transformer
R1.5.1 | OCR 50AMP 15KV TYPE H

## NEW CONST UNITS
PART LCN --NEW CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
1/0 TRI | 185 |  |  | 0.85 | 0.85 | 157.25
1/0-25KV | 21015 |  |  | 2.24 | 2.24 | 47073.6
2 URD | 200 |  |  | 0.68 | 0.68 | 136
2-15KV | 80 |  |  | 1.3 | 1.3 | 104
30-5 | 4 |  |  | 314.99 | 314.99 | 1259.96
35-5 | 2 |  |  | 400.3 | 400.3 | 800.6
350 URD | 675 |  |  | 2.4 | 2.4 | 1620
4 ACSR | 3384 |  |  | 0.13 | 0.13 | 439.92
4/0 URD | 1085 |  |  | 1.5 | 1.5 | 1627.5
40-4 | 7 |  |  | 561.07 | 561.07 | 3927.49
45-2 DUCTILE IRON | 1 |  |  | 1563.24 | 1563.24 | 1563.24
45-3 | 1 |  |  | 728.16 | 728.16 | 728.16
CT METER 1PH_URD | 1 |  |  | 858.57 | 858.57 | 858.57
E1-2 | 2 |  |  | 44.74 | 44.74 | 89.48
E1EHS | 9 |  |  | 34.1 | 34.1 | 306.9
E2-2-B | 1 |  |  | 56.13 | 56.13 | 56.13
E3-10 | 11 |  |  | 6.15 | 6.15 | 67.65
F1-2P | 9 |  |  | 43.82 | 43.82 | 394.38
F1-4P | 1 |  |  | 83.04 | 83.04 | 83.04
F12-CL-UG | 1 |  |  | 255 | 255 | 255
F20-CL-UG | 22 |  |  | 251 | 251 | 5522
F20S | 3 |  |  | 5.5 | 5.5 | 16.5
F40S | 1 |  |  | 5.75 | 5.75 | 5.75
G1.15.1.2 | 3 |  |  | 782.64 | 782.64 | 2347.92
G1.4X | 3 |  |  | 12.32 | 12.32 | 36.96
K11C | 9 |  |  | 8.39 | 8.39 | 75.51
M2-11 | 10 |  |  | 14.93 | 14.93 | 149.3
M2-11S | 1 |  |  | 14.93 | 14.93 | 14.93
M2-7 | 1 |  |  | 68 | 68 | 68
M5-23X-12' | 11 |  |  | 48.15 | 48.15 | 529.65
M5-27 | 16 |  |  | 8.84 | 8.84 | 141.44
M6-4 | 4 |  |  | 242.57 | 242.57 | 970.28
PVC-2 | 32393 |  |  | 0.69 | 0.69 | 22351.17
PVC-2SWEEP | 195 |  |  | 4.27 | 4.27 | 832.65
PVC-2SWEEP 45 | 2 |  |  | 1.54 | 1.54 | 3.08
PVC-3 | 211 |  |  | 0.69 | 0.69 | 145.59
PVC-3SWEEP | 21 |  |  | 10.17 | 10.17 | 213.57
UA1FG OVH | 1 |  |  | 380.77 | 380.77 | 380.77
UG7 | 12 |  |  | 108.88 | 108.88 | 1306.56
UG7X | 16 |  |  | 129.73 | 129.73 | 2075.68
UJ2-4 | 84 |  |  | 7.88 | 7.88 | 661.92
UM-BOLLARD | 2 |  |  | 220 | 220 | 440
UM1-4 | 1 |  |  | 541.26 | 541.26 | 541.26
UM1-7-1X | 8 |  |  | 242.13 | 242.13 | 1937.04
UM1-7-3M | 10 |  |  | 481.24 | 481.24 | 4812.4
UM1-7NC | 3 |  |  | 286.15 | 286.15 | 858.45
UM1-7NCX | 25 |  |  | 222.82 | 222.82 | 5570.5
UM3-14X | 8 |  |  | 457.61 | 457.61 | 3660.88
UM33M | 10 |  |  | 789.03 | 789.03 | 7890.3
UM5 | 24 |  |  | 92.7 | 92.7 | 2224.8
UM6-1 | 50 |  |  | 57.4 | 57.4 | 2870
UM6-10 | 98 |  |  | 36.55 | 36.55 | 3581.9
UM6-12S | 44 |  |  | 18.35 | 18.35 | 807.4
UM6-2 | 21 |  |  | 407.86 | 407.86 | 8565.06
UM6-28 | 1 |  |  | 10 | 10 | 10
UM6-4 | 49 |  |  | 194.44 | 194.44 | 9527.56
UM6-5 | 3 |  |  | 210 | 210 | 630
VA7C-5 | 9 |  |  | 180.99 | 180.99 | 1628.91
VA8C-8 | 1 |  |  | 257.65 | 257.65 | 257.65
VA9-1C-5 | 3 |  |  | 134.49 | 134.49 | 403.47
VM5-20E | 1 |  |  | 15.08 | 15.08 | 15.08
VM5-5 | 3 |  |  | 22.47 | 22.47 | 67.41
VM5-9F | 2 |  |  | 117.17 | 117.17 | 234.34
VM5-9FTRANS | 3 |  |  | 108.73 | 108.73 | 326.19
VM5-9S | 1 |  |  | 117.17 | 117.17 | 117.17
VUA1FG | 3 |  |  | 378.27 | 378.27 | 1134.81
VUA1FG OVH | 1 |  |  | 378.27 | 378.27 | 378.27
VUG1.100.1.9 | 1 |  |  | 3351.72 | 3351.72 | 3351.72
VUG1.15.1.9 | 8 |  |  | 1688.92 | 1688.92 | 13511.36
VUG1.25.1.9 | 11 |  |  | 1804.23 | 1804.23 | 19846.53
VUG1.37.1.9 | 5 |  |  | 2000.22 | 2000.22 | 10001.1
VUG1.50.1.9 | 3 |  |  | 2220.7 | 2220.7 | 6662.1
VUM6-22 | 38 |  |  | 241.4 | 241.4 | 9173.2
220434.96

## SWPPP
STORMWATER POLLUTION PREVENTION PLAN (SWPPP)
Unit | Description | Unit Qty | Quantity | Materials | Labor | Labor & Materials | Extended Price
BMP-35 | Fiber Roll | 1 foot | 700 |  |  | 0 | 0
BMP-36 | Silt Fence | 1 foot | 200 |  |  | 0 | 0
SWPPP | Balance of SWPPP | 1 lot | 1 |  |  | 0 | 0
[6 empty] | Total | 0

## Assemblies
A1 - 7.2KV 1-PH SNGLE PRI SUPPRT
A1-1 - 7.2KV 1-PH DBLE PRI SUPP (RETIRE ONLY)
A1A - 7.2KV 1-PH SNGLE PRI SUPPRT
A2 - 7.2KV 1-PH DBLE PRI SUPPRT
A3 - 7.2KV 1-PH PRI 20-60 ANGLE
A4 - 7.2KV 1-PH PRI 60-90 ANGLE
A5 - 7.2KV 1-PH PRI DEADEND
A5-1 - 7.2KV 1-PH PRI TAP
A5-2 - 7.2KV 1-PH PRI TAP
A6 - 7.2KV 1-PH PRI VERTICAL DBLE DE
A7-1 - 7.2KV 1-PH X-ARM SNGLE DE
A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE
A8 - 7.2KV 1-PH X-ARM DBLE DE
A8X - 7.2KV 1-PH X-ARM 5' DBLE DE
A9 - 7.2KV 1-PH X-ARM DBLE LINE ARM
A9-1 - 7.2KV 1-PH X-ARM SNGLE LINE ARM
A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE
A9X - 7.2KV 1-PH X-ARM 5' DBLE LINE
E1-1 - 7.2KV SERV DOWN GUY (FROG)
E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD)
E1EHS - GUY WIRE 3/8 EXTRA HS
E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE
E2-2-B - 7.2KV SNGLE OVH GUY (1 )SM EYE PLATE
E3-10 - GUY GUARD
F1-1P - LINE ANCHOR ASSEMBLY (PLATE)
F1-2P - PLATE ANCHOR 16"
F1-4P - PLATE ANCHOR 24"
G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE
G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT
G106 - 7.2KV 1-PH TRNS CSP @ DEAD END
J10 - SEC ASSEMBLY (5 TO 60 DEGREE)
K11C - SERV ASSEMBLY
M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD
M2-11S - 7.2KV GROUND ASSEMBLY GRND ROD NON WOOD
M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE
M2-7 - SACRIFICIAL ANODE
M5-14X - 7.2KV PRI ASSEMBLY (5' X-ARM)
M5-14XC - COMPOSITE TANGENT ARM 5'
M5-15 - FIBERGLASS ARM 1-PHASE
M5-20E - 7.2KV PRI ASSEMBLY (EPOXILATOR)
M5-23X-10' - 7.2KV PRI ASSEMBLY (10' STRAIN INSUL)
M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL)
M5-27 - POLE TOP CAP
M5-5 - PRI ASSEMBLY (INSUL & X-ARM PIN)
M5-5N - PRI ASSEMBLY (WHITE GLASS & X-ARM PIN)
M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR)
M5-9F - 7.2KV CUTOUT FUSED (RETIREMENT ONLY)
M5-9LBF - 7.2KV CUTOUT LB-FUSED (RETIRE ONLY)
M5-9LBS - 7.2KV CUTOUT LB-SOLID (RETIRE ONLY)
M6-4 - FAULT INDICATOR (OVERHEAD)
UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm)
UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM
UA1FG OVH - 1-PH CBL TERM W/CUTOUT/FG ARM URD SOURCE
UA2 - 1-PH CBL TERM POLE - URD SOURCE
UA3 - 1 PH CBL TERM POLE--ARM MNTED. CUTOUT
UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP
UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS
UJ1-4 - SEC. CONNECTOR BLOCK
UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR
UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD
UM1-7-3M - GROUND SLEEVE 3-PH 200AMP MOD 64x24x18
UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large)
UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR
UM3-14X - 1-PH MODULE 200/600AMP (large cabinet)
UM33M - 3-PH MODULE 200AMP (L64 x W24 x H30)
UM5 - SECONDARY RISER
UM6-1 - PRI. CABLE TERMINATION-LOADBREAK
UM6-10 - INSULATED PROTECTIVE CAP (200 A)
UM6-2 - PRI CBL TERM (FUSED ELBOW -15KV)
UM6-28 - PRIMARY SPLICE
UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500
UM6-5 - Y BUSHING (LOAD BREAK INSERT)
UM-BOLLARD - BOLLARD
VA3 - 14.4KV 1-PH 30-60 ANGLE
VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE
VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE)
VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE
VA8C-8 - 14.4KV 1-PH DBLE DE 8' COMPOSITE
VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT
VM5-20 - 14.4KV PRI. ASSEMBLY (RETIREMENT ONLY)
VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR)
VM5-5 - 14.4KV PRI. ASSEMBLY
VM5-9F - 14.4KV CUTOUT, FUSED
VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE
VM5-9S - 14.4KV CUTOUT, SOLID
VM8-15 - 14.4KV PRI METER GUIDE 3-PH 4W (RETIRE)
VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM
VUA1FG OVH - 1-PH 14.4 CBL TERM/CUTOUT/FG URD SOURCE
VUM6-22 - JUNCTION 4-PO 200AMP 25KV

## Owner Furnished Material
OWNER FURNISHED MATERIALS LIST
ITEM | DESCRIPTION | QTY | UNIT | PRICE EA | EXTENDED
20195 | BOLLARD | 2 | EA | 220 | 440
20340 | BOLT, MACHINE 1/2" | 2 | EA | 1.1 | 2.2
20350 | BOLT MACHINE 5/8" | 79 | EA | 1.04 | 82.1
20800 | BRACKET, STANDOFF W/STRAPS | 116 | EA | 16.5 | 1914
20900 | CLAMP, GROUND ROD | 67 | EA | 2.25 | 150.75
20910 | SACRIFICIAL ANODE | 2 | EA | 68 | 136
20950 | CLAMP, GUY BONDING | 11 | EA | 2.8 | 30.8
21000 | CLAMP, HOT LINE | 11 | EA | 8.44 | 92.84
21050 | CLAMP, WEDGE TUBE | 9 | EA | 1.49 | 13.41
21210 | CLEVIS, THIMBLE | 13 | EA | 13 | 169
21250 | CONNECTOR, SECONDARY | 84 | EA | 7.88 | 661.92
21549 | CLAMP, DEADEND OR AUTO | 11 | EA | 6.85 | 75.35
21551 | DEADEND GUY (PREFORMED) | 24 | EA | 2.35 | 56.4
21554 | CLAMP, DEADEND PREFORMED | 11 | EA | 3 | 33
21652 | LOAD BREAK INSERT - DOUBLE | 3 | EA | 210 | 630
21767 | FUSE 20-AMP STANDARD | 3 | EA | 5.5 | 16.5
21770 | FUSE 40-AMP STANDARD | 1 | EA | 5.75 | 5.75
21800 | GUY GUARD | 11 | EA | 6.15 | 67.65
21899 | FUSE 12-AMP CURRENT LIMITING UG | 1 | EA | 255 | 255
21902 | FUSE 20-AMP CURRENT LIMITING UG | 22 | EA | 251 | 5522
22050 | INSULATOR, SPOOL | 18 | EA | 1.24 | 22.32
22060 | J LAG | 5 | EA | 0.88 | 4.4
22300 | KELLUM | 5 | EA | 29.1 | 145.5
22680 | CT METER URD ASSEMBLY | 1 | EA | 858.57 | 858.57
23000 | PVC-2 SWEEP 90Â° | 195 | EA | 4.27 | 832.65
23005 | PVC-2 SWEEP 45Â° | 2 | EA | 1.54 | 3.08
23015 | PVC-3 SWEEP 90Â° | 21 | EA | 10.17 | 213.57
23195 | POLE TOP CAP | 16 | EA | 6 | 96
23800 | SCREW, LAG | 239 | EA | 0.75 | 179.25
23823 | SNOW MARKER | 44 | EA | 18.35 | 807.4
23825 | SPLICE, PRIMARY | 1 | EA | 10 | 10
23850 | SHACKLE, ANCHOR | 11 | EA | 6.49 | 71.39
24400 | WASHERS, SQUARE | 1 | EA | 0.3 | 0.3
24410 | WASHERS, ROUND | 10 | EA | 0.37 | 3.7
24417 | WASHERS, CURVED 3X3 | 108 | EA | 0.9 | 97.2
26150 | WIRE, JUMPERS | 1549 | FT | 0 | 0
20100 | ANCHOR, PLATE 16" | 9 | EA | 20.81 | 187.29
20105 | ANCHOR, PLATE 24" | 1 | EA | 60.03 | 60.03
20150 | ARRESTOR, LIGHTNING | 5 | EA | 50.5 | 252.5
20600 | BRACKET, FIBERGLASS ARM 1-PH | 5 | EA | 38.97 | 194.85
21200 | CLEVIS, SWINGING | 20 | EA | 3.72 | 74.4
21351 | CROSSARM, 5' (COMPOSITE-DE) | 9 | EA | 144.39 | 1299.51
21352 | CROSSARM, 5' (COMPOSITE-TANGENT) | 3 | EA | 86.78 | 260.34
21364 | CROSSARM, 8' (COMPOSITE-DE) | 1 | EA | 193.63 | 193.63
21450 | CUTOUT | 11 | EA | 108.73 | 1196.03
21500 | CULVERT (USED WITH PAD SHRUB/RR) | 25 | EA | 105.39 | 2634.75
21505 | CULVERT (LARGE SLEEVE-SHRUB) | 3 | EA | 286.15 | 858.45
21510 | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) | 25 | EA | 117.43 | 2935.75
21530 | HILL SIDE BARRIER (ALL SIZES) | 1 | EA | 541.26 | 541.26
21535 | GROUND SLEEVE (1-PH 200/600AMP MOD) | 8 | EA | 242.13 | 1937.04
21543 | GND SLEEVE 3-PH 200AMP MOD 64 x 24 x 18 | 10 | EA | 481.24 | 4812.4
21650 | ELBOW | 94 | EA | 57.4 | 5395.6
21655 | ELBOW, FUSED 15kv | 21 | EA | 407.86 | 8565.06
21670 | FAULT INDICATORS (URD-SMALL CORE) | 49 | EA | 194.44 | 9527.56
21671 | FAULT INDICATORS (OVERHEAD) | 4 | EA | 242.57 | 970.28
21710 | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) | 3 | EA | 7.95 | 23.85
21950 | INSULATOR, PIN TYPE 14.4 | 6 | EA | 9.67 | 58.02
22020 | INSULATOR, WHITE GLASS | 3 | EA | 5.71 | 17.13
22090 | INSULATOR, POLYMER (EPOXI) | 12 | EA | 15.08 | 180.96
22150 | INSULATOR, STRAIN | 11 | EA | 41.66 | 458.26
22200 | INSULATED CAPS | 110 | EA | 36.55 | 4020.5
22265 | JUNCTION 4-POS 25KV 200AMP | 38 | EA | 241.4 | 9173.2
22802 | MODULE 1-PH 200/600AMP | 8 | EA | 442.68 | 3541.44
22812 | MODULE 3-PH 200AMP (L64 X W24 X H30) | 10 | EA | 759.17 | 7591.7
22900 | PINS, CROSSARM | 9 | EA | 12.8 | 115.2
23050 | PIPE, PVC | 33474 | EA | 0.69 | 23097.06
23360 | POLE 30-5 | 4 | EA | 314.99 | 1259.96
23410 | POLE 35-5 | 2 | EA | 400.3 | 800.6
23470 | POLE 40-4 | 7 | EA | 561.07 | 3927.49
23520 | POLE 45-3 | 1 | EA | 728.16 | 728.16
23700 | ROD, ANCHOR PLATE | 10 | EA | 23.01 | 230.1
23750 | ROD, GROUND | 67 | EA | 12.68 | 849.56
24250 | TERMINATOR | 5 | EA | 45.52 | 227.6
24600 | WIRE GUY 3/8" | 480 | FT | 0.34 | 163.2
24700 | WIRE #2 URD TRI | 200 | FT | 0.68 | 136
24750 | WIRE 4/0 URD TRI | 1085 | FT | 1.5 | 1627.5
24760 | WIRE 350 URD TRI | 675 | FT | 2.4 | 1620
25200 | WIRE 1/0 TRI (OVH) | 185 | FT | 0.85 | 157.25
25400 | WIRE 4 ACSR | 3384 | FT | 0.13 | 439.92
25800 | WIRE 2-15KV (URD) | 80 | FT | 1.3 | 104
26005 | WIRE 1/0 25KV 260ML URD | 21015 | FT | 2.24 | 47073.6
23452-C2 | POLE 45-C2 DUCTILE IRON | 1 | EA | 1495.24 | 1495.24
5016 | 15KVA 7.2 120/240 D/B 1PH OVH | 3 | EA | 782.64 | 2347.92
5034 | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 | 8 | EA | 1688.92 | 13511.36
5073 | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 | 11 | EA | 1804.23 | 19846.53
5074 | 37.5KVA DV 120/240 S/L FUSED 1PH URD FR3 | 5 | EA | 2000.22 | 10001.1
5102 | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 | 3 | EA | 2220.7 | 6662.1
5118 | 100KVA DV 120/240 S/L FUSED 1PH URD FR3 | 1 | EA | 3351.72 | 3351.72
220434.96

## CONSTRUCTION PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-14 |  | 6:43 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16513-S | [7 empty] | Description: |  | Twin Beaches Area Conversion (S Section) |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 340 |  | Open Date: |  |  | 2019-08-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | JEREMY HOFER |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Construction
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20195 | [6 empty] | BOLLARD |  |  | 2 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 2 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 79 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 116 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 67 | EA
E | * | 20910 | [6 empty] | SACRIFICIAL ANODE |  |  | 2 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 11 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 11 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 9 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 13 | EA
E | * | 21250 | [6 empty] | CONNECTOR, SECONDARY |  |  | 84 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 11 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 24 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 11 | EA
E | * | 21652 | [6 empty] | LOAD BREAK INSERT - DOUBLE |  |  | 3 | EA
E | * | 21767 | [6 empty] | FUSE 20-AMP STANDARD |  |  | 3 | EA
E | * | 21770 | [6 empty] | FUSE 40-AMP STANDARD |  |  | 1 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 11 | EA
E | * | 21899 | [6 empty] | FUSE 12-AMP CURRENT LIMITING UG |  |  | 1 | EA
E | * | 21902 | [6 empty] | FUSE 20-AMP CURRENT LIMITING UG |  |  | 22 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 18 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 5 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 5 | EA
E | * | 22660 | [6 empty] | CT METER POST |  |  | 1 | EA
E | * | 22680 | [6 empty] | CT METER URD ASSEMBLY |  |  | 1 | EA
E | * | 23000 | [6 empty] | PVC-2 SWEEP 90° |  |  | 195 | EA
E | * | 23005 | [6 empty] | PVC-2 SWEEP 45° |  |  | 2 | EA
E | * | 23015 | [6 empty] | PVC-3 SWEEP 90° |  |  | 21 | EA
E | * | 23195 | [6 empty] | POLE TOP CAP |  |  | 16 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 239 | EA
E | * | 23823 | [6 empty] | SNOW MARKER |  |  | 44 | EA
E | * | 23825 | [6 empty] | SPLICE, PRIMARY |  |  | 1 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 11 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 1 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 10 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 108 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 1549 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 9 | EA
L | 20105 | [7 empty] | ANCHOR, PLATE 24" |  |  | 1 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 5 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 5 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 20 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 9 | EA
L | 21352 | [7 empty] | CROSSARM, 5' (COMPOSITE-TANGENT) |  |  | 3 | EA
L | 21364 | [7 empty] | CROSSARM, 8' (COMPOSITE-DE) |  |  | 1 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 11 | EA
L | 21500 | [7 empty] | CULVERT (USED WITH PAD SHRUB/RR) |  |  | 25 | EA
L | 21505 | [7 empty] | CULVERT (LARGE SLEEVE-SHRUB) |  |  | 3 | EA
L | 21510 | [7 empty] | PAD - BLACK (USED ON CULVERT/SHRUBS/RR) |  |  | 25 | EA
L | 21530 | [7 empty] | HILL SIDE BARRIER (ALL SIZES) |  |  | 1 | EA
L | 21535 | [7 empty] | GROUND SLEEVE (1-PH 200/600AMP MOD) |  |  | 8 | EA
L | 21543 | [7 empty] | GND SLEEVE 3-PH 200AMP MOD 64 x 24 x 18 |  |  | 10 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 94 | EA
L | 21655 | [7 empty] | ELBOW, FUSED 15kv |  |  | 21 | EA
L | 21670 | [7 empty] | FAULT INDICATORS (URD-SMALL CORE) |  |  | 49 | EA
L | 21671 | [7 empty] | FAULT INDICATORS (OVERHEAD) |  |  | 4 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 3 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 6 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 3 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 12 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 11 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 110 | EA
L | 22265 | [7 empty] | JUNCTION 4-POS 25KV 200AMP |  |  | 38 | EA
L | 22802 | [7 empty] | MODULE 1-PH 200/600AMP |  |  | 8 | EA
L | 22812 | [7 empty] | MODULE 3-PH 200AMP (L64 X W24 X H30) |  |  | 10 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 9 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 33474 | EA
L | 23060 | [7 empty] | PIPE, PVC (POLY 2") |  |  | 1600 | EA
L | 23065 | [7 empty] | PIPE, PVC (POLY 3") |  |  | 80 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 4 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 2 | EA
L | 23470 | [7 empty] | POLE 40-4 |  |  | 7 | EA
L | 23520 | [7 empty] | POLE 45-3 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 10 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 67 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 5 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 480 | EA
L | 24700 | [7 empty] | WIRE #2 URD TRI |  |  | 200 | EA
L | 24750 | [7 empty] | WIRE 4/0 URD TRI |  |  | 1085 | EA
L | 24760 | [7 empty] | WIRE 350 URD TRI |  |  | 675 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 185 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 3384 | EA
L | 25800 | [7 empty] | WIRE 2-15KV (URD) |  |  | 80 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 21015 | EA
L | 23452-C2 | [7 empty] | POLE 45-C2 DUCTILE IRON |  |  | 1 | EA
S | 5016 | [7 empty] | 15KVA 7.2 120/240 D/B 1PH OVH |  |  | 3 | EA
S | 5034 | [7 empty] | 15KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 8 | EA
S | 5073 | [7 empty] | 25KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 11 | EA
S | 5074 | [7 empty] | 37.5KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 5 | EA
S | 5102 | [7 empty] | 50KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 3 | EA
S | 5118 | [7 empty] | 100KVA DV 120/240 S/L FUSED 1PH URD FR3 |  |  | 1 | EA
[10 empty] | Total Quantity For Construction: |  | 65610
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Construction | [7 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 185
[8 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 21015
[8 empty] | 2 URD - SEC. UG CABLE, 2 TRI | [9 empty] | 200
[8 empty] | 2-15KV - PRI. UG CABLE, 2STR-15KV | [9 empty] | 80
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 4
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 2
[8 empty] | 350 URD - SEC. UG CABLE, 350 TRI | [9 empty] | 675
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 3384
[8 empty] | 4/0 URD - SEC. UG CABLE, 4/0 TRI | [9 empty] | 1085
[8 empty] | 40-4 - POLE, 40 FT CLASS 4 | [9 empty] | 7
[8 empty] | 45-2 DUCTILE IRON - POLE, 45FT CLASS 2 DUCTILE IRON | [9 empty] | 1
[8 empty] | 45-3 - POLE, 45 FT CLASS 3 | [9 empty] | 1
[8 empty] | CT METER 1PH_URD - CT METER 1PH URD | [9 empty] | 1
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 2
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 9
[8 empty] | E2-2-B - 7.2KV SNGLE OVH GUY (1 )SM EYE PLATE | [9 empty] | 1
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 11
[8 empty] | F-SOLID - FUSE SOLID GATE | [9 empty] | 2
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 9
[8 empty] | F1-4P - PLATE ANCHOR 24" | [9 empty] | 1
[8 empty] | F12-CL-UG - FUSE 12-AMP CURRENT LIMITING UG | [9 empty] | 1
[8 empty] | F20-CL-UG - FUSE 20-AMP CURRENT LIMITING UG | [9 empty] | 22
[8 empty] | F20S - FUSE 20-AMP STANDARD | [9 empty] | 3
[8 empty] | F40S - FUSE 40-AMP STANDARD | [9 empty] | 1
[8 empty] | G1.15.1.2 - 7200OVH 15KVA 120/240 D/B | [9 empty] | 3
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 3
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 9
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 10
[8 empty] | M2-11S - 7.2KV GROUND ASSEMBLY GRND ROD NON WOOD | [9 empty] | 1
[8 empty] | M2-7 - SACRIFICIAL ANODE | [9 empty] | 1
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 11
[8 empty] | M5-27 - POLE TOP CAP | [9 empty] | 16
[8 empty] | M6-4 - FAULT INDICATOR (OVERHEAD) | [9 empty] | 4
[8 empty] | POLY-2 - POLY PVC 2" - PLOWED | [9 empty] | 1600
[8 empty] | POLY-2 PVC ADAPTER - POLY-PVC 2" ADAPTER | [9 empty] | 29
[8 empty] | POLY-3 - POLY PVC 3" - PLOWED | [9 empty] | 80
[8 empty] | POLY-3 PVC ADAPTER - POLY-PVC 3" ADAPTER | [9 empty] | 2
[8 empty] | PVC-2 - PVC 2" | [9 empty] | 32393
[8 empty] | PVC-2SWEEP - PVC 2" SWEEP 90° | [9 empty] | 195
[8 empty] | PVC-2SWEEP 45 - PVC 2" SWEEP 45° | [9 empty] | 2
[8 empty] | PVC-3 - PVC 3" | [9 empty] | 211
[8 empty] | PVC-3SWEEP - PVC 3" SWEEP 90° | [9 empty] | 21
[8 empty] | UA1FG OVH - 1-PH CBL TERM W/CUTOUT/FG ARM URD SOURCE | [9 empty] | 1
[8 empty] | UG7 - 1-PH PAD MNT XFMR--ELBOW & CAP | [9 empty] | 12
[8 empty] | UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS | [9 empty] | 16
[8 empty] | UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR | [9 empty] | 84
[8 empty] | UM-BOLLARD - BOLLARD | [9 empty] | 2
[8 empty] | UM1-4 - HILL-SIDE BARRIER | [9 empty] | 1
[8 empty] | UM1-7-1X - GROUND SLEEVE 1-PH 200/600AMP MOD | [9 empty] | 8
[8 empty] | UM1-7-3M - GROUND SLEEVE 3-PH 200AMP MOD 64x24x18 | [9 empty] | 10
[8 empty] | UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large) | [9 empty] | 3
[8 empty] | UM1-7NCX - GND SLEEVE & PAD FOR PD MNT XFMR | [9 empty] | 25
[8 empty] | UM3-14X - 1-PH MODULE 200/600AMP (large cabinet) | [9 empty] | 8
[8 empty] | UM33M - 3-PH MODULE 200AMP (L64 x W24 x H30) | [9 empty] | 10
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 24
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 50
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 98
[8 empty] | UM6-12S - SNOW MARKER | [9 empty] | 44
[8 empty] | UM6-2 - PRI CBL TERM (FUSED ELBOW -15KV) | [9 empty] | 21
[8 empty] | UM6-28 - PRIMARY SPLICE | [9 empty] | 1
[8 empty] | UM6-4 - FAULT INDICATOR - URD SMALL UP TO 500 | [9 empty] | 49
[8 empty] | UM6-5 - Y BUSHING (LOAD BREAK INSERT) | [9 empty] | 3
[8 empty] | UR2-R - TRENCHING ROCK | [9 empty] | 3420
[8 empty] | UR2-S - TRENCHING SOIL | [9 empty] | 13825
[8 empty] | UR7-B2 - BORING 2" | [9 empty] | 2450
[8 empty] | UR7-B3 - BORING 3" | [9 empty] | 80
[8 empty] | VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE | [9 empty] | 9
[8 empty] | VA8C-8 - 14.4KV 1-PH DBLE DE 8' COMPOSITE | [9 empty] | 1
[8 empty] | VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT | [9 empty] | 3
[8 empty] | VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR) | [9 empty] | 1
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 3
[8 empty] | VM5-9F - 14.4KV CUTOUT, FUSED | [9 empty] | 2
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 3
[8 empty] | VM5-9S - 14.4KV CUTOUT, SOLID | [9 empty] | 1
[8 empty] | VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM | [9 empty] | 3
[8 empty] | VUA1FG OVH - 1-PH 14.4 CBL TERM/CUTOUT/FG URD SOURCE | [9 empty] | 1
[8 empty] | VUG1.100.1.9 - DV URD 100KVA 120/240 S/L FUSED FR3 | [9 empty] | 1
[8 empty] | VUG1.15.1.9 - DV URD 15KVA 120/240 S/L FR3 | [9 empty] | 8
[8 empty] | VUG1.25.1.9 - DV URD 25KVA 120/240 S/L FR3 | [9 empty] | 11
[8 empty] | VUG1.37.1.9 - DV URD 37KVA 120/240 S/L FR3 | [9 empty] | 5
[8 empty] | VUG1.50.1.9 - DV URD 50KVA 120/240 S/L FR3 | [9 empty] | 3
[8 empty] | VUM6-22 - JUNCTION 4-PO 200AMP 25KV | [9 empty] | 38

## RETIRMENT PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-14 |  | 6:44 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16513-S | [7 empty] | Description: |  | Twin Beaches Area Conversion (S Section) |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 340 |  | Open Date: |  |  | 2019-08-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  | JEREMY HOFER |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Retirement
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20200 | [6 empty] | BOLT, CARRIAGE |  |  | 101 | EA
E | * | 20250 | [6 empty] | BOLT D.A. 5/8" |  |  | 63 | EA
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 84 | EA
E | * | 20340 | [6 empty] | BOLT, MACHINE 1/2" |  |  | 29 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 302 | EA
E | * | 20400 | [6 empty] | BOLT, UPSET |  |  | 8 | EA
E | * | 20700 | [6 empty] | BRACKET, "L" SHAPED |  |  | 5 | EA
E | * | 20750 | [6 empty] | BRACKET, NEUTRAL OFF |  |  | 5 | EA
E | * | 20800 | [6 empty] | BRACKET, STANDOFF W/STRAPS |  |  | 96 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 11 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 57 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 54 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 11 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 55 | EA
E | * | 21250 | [6 empty] | CONNECTOR, SECONDARY |  |  | 6 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 61 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 122 | EA
E | * | 21552 | [6 empty] | CLAMP, SUSPENSION ANGLE |  |  | 2 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 61 | EA
E | * | 21652 | [6 empty] | LOAD BREAK INSERT - DOUBLE |  |  | 1 | EA
E | * | 21664 | [6 empty] | GUY ATTACHMENT (FROG) |  |  | 10 | EA
E | * | 21769 | [6 empty] | FUSE 30-AMP STANDARD |  |  | 1 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 10 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 97 | EA
E | * | 22060 | [6 empty] | J LAG |  |  | 17 | EA
E | * | 22300 | [6 empty] | KELLUM |  |  | 17 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 48 | EA
E | * | 23100 | [6 empty] | PLATE, GROUND BUTT |  |  | 3 | EA
E | * | 23190 | [6 empty] | POLE GAINS |  |  | 2 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 262 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 8 | EA
E | * | 24400 | [6 empty] | WASHERS, SQUARE |  |  | 61 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 327 | EA
E | * | 24410 | [6 empty] | WASHERS, ROUND |  |  | 20 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 300 | EA
E | * | 24900 | [6 empty] | WIRE, 8A |  |  | 7408 | EA
E | * | 25000 | [6 empty] | WIRE, 6 HDC |  |  | 20670 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 2562 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 42 | EA
L | 20150 | [7 empty] | ARRESTOR, LIGHTNING |  |  | 22 | EA
L | 20550 | [7 empty] | BRACE CROSSARM 28" |  |  | 98 | EA
L | 20560 | [7 empty] | BRACE, CROSSARM 60" |  |  | 7 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 11 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 12 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 72 | EA
L | 21330 | [7 empty] | CROSSARM, 5' (WOOD) |  |  | 38 | EA
L | 21340 | [7 empty] | CROSSARM, 8' (WOOD) |  |  | 13 | EA
L | 21350 | [7 empty] | CROSSARM, 10' (WOOD) |  |  | 4 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 1 | EA
L | 21352 | [7 empty] | CROSSARM, 5' (COMPOSITE-TANGENT) |  |  | 1 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 27 | EA
L | 21460 | [7 empty] | CUTOUT, LOADBREAK |  |  | 3 | EA
L | 21505 | [7 empty] | CULVERT (LARGE SLEEVE-SHRUB) |  |  | 1 | EA
L | 21650 | [7 empty] | ELBOW |  |  | 9 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 54 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 2 | EA
L | 21955 | [7 empty] | INSULATOR, POST TYPE 14.4/STUD |  |  | 6 | EA
L | 22000 | [7 empty] | INSULATOR, PIN TYPE 7.2 |  |  | 45 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 25 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 67 | EA
L | 22100 | [7 empty] | INSULATOR, SUSPENSIO |  |  | 3 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 3 | EA
L | 22200 | [7 empty] | INSULATED CAPS |  |  | 5 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 52 | EA
L | 22950 | [7 empty] | PINS, POLE TOP |  |  | 20 | EA
L | 23050 | [7 empty] | PIPE, PVC |  |  | 730 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 3 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 18 | EA
L | 23460 | [7 empty] | POLE 40-5 |  |  | 19 | EA
L | 23480 | [7 empty] | POLE 40-3 |  |  | 2 | EA
L | 23510 | [7 empty] | POLE 45-5 |  |  | 3 | EA
L | 23515 | [7 empty] | POLE 45-4 |  |  | 4 | EA
L | 23610 | [7 empty] | POLE 55-4 |  |  | 1 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 42 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 11 | EA
L | 24250 | [7 empty] | TERMINATOR |  |  | 17 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 2540 | EA
L | 24750 | [7 empty] | WIRE 4/0 URD TRI |  |  | 200 | EA
L | 25200 | [7 empty] | WIRE 1/0 TRI (OVH) |  |  | 87 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 521 | EA
L | 25310 | [7 empty] | WIRE #4 TRI (OVH) |  |  | 479 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 6396 | EA
L | 25500 | [7 empty] | WIRE 1/0 ACSR |  |  | 2558 | EA
L | 25800 | [7 empty] | WIRE 2-15KV (URD) |  |  | 250 | EA
L | 26005 | [7 empty] | WIRE 1/0 25KV 260ML URD |  |  | 160 | EA
S | 5004 | [7 empty] | 10KVA 7.2 120/240 CSP 1PH OVH |  |  | 4 | EA
S | 5015 | [7 empty] | 15KVA 7.2 120/240 CSP 1PH OVH |  |  | 8 | EA
S | 5024 | [7 empty] | 15KVA DV 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5035 | [7 empty] | 25KVA 7.2 120/240 CSP 1PH OVH |  |  | 3 | EA
S | 5036 | [7 empty] | 25KVA 7.2 120/240 D/B 1PH OVH |  |  | 3 | EA
S | 5055 | [7 empty] | 37.5KVA 7.2 120/240 CSP 1PH OVH |  |  | 3 | EA
S | 5056 | [7 empty] | 37.5KVA 7.2 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5075 | [7 empty] | 50KVA 7.2 120/240 CSP 1PH OVH |  |  | 1 | EA
S | 5076 | [7 empty] | 50KVA 7.2 120/240 D/B 1PH OVH |  |  | 1 | EA
S | 5116 | [7 empty] | 100KVA 7.2 120/240 FUSED 1PH URD |  |  | 1 | EA
S | 8015 | [7 empty] | OCR 50AMP 15KV H 1PH |  |  | 1 | EA
X | * | 5023-2 | [6 empty] | 15KVA DV 120/240 CSP 1PH OVH |  |  | 1 | EA
[10 empty] | Total Quantity For Retirement: |  | 47669
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Retirement | [7 empty] | 1/0 ACSR - PRI. OVH CONDUCTOR, 1/0 ACSR | [9 empty] | 2558
[8 empty] | 1/0 TRI - SEC. OVH CONDUCTOR, 1/0 TRI | [9 empty] | 87
[8 empty] | 1/0-25KV - PRI. UG CABLE 26OML | [9 empty] | 160
[8 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 521
[8 empty] | 2-15KV - PRI. UG CABLE, 2STR-15KV | [9 empty] | 250
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 3
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 18
[8 empty] | 35-6 - POLE, 35 FT CLASS 6 (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 6396
[8 empty] | 4 TRI - SEC. OVH CONDUCTOR, 4 TRI | [9 empty] | 479
[8 empty] | 4/0 URD - SEC. UG CABLE, 4/0 TRI | [9 empty] | 200
[8 empty] | 40-3 - POLE, 40 FT CLASS 3 | [9 empty] | 2
[8 empty] | 40-5 - POLE, 40 FT CLASS 5 | [9 empty] | 19
[8 empty] | 40-6 - POLE, 40 FT CLASS 6 (RETIREMENT ONLY) | [9 empty] | 2
[8 empty] | 45-4 - POLE, 45 FT CLASS 4 | [9 empty] | 4
[8 empty] | 45-5 - POLE, 45 FT CLASS 5 (RETIREMENT ONLY) | [9 empty] | 3
[8 empty] | 55-4 - POLE, 55 FT CLASS 4 | [9 empty] | 1
[8 empty] | 6HDC - PRI. OVH CONDUCTOR, 6HDC | [9 empty] | 20670
[8 empty] | 8A - PRI. OVH CONDUCTOR, 8A | [9 empty] | 7408
[8 empty] | A1 - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 7
[8 empty] | A1-1 - 7.2KV 1-PH DBLE PRI SUPP (RETIRE ONLY) | [9 empty] | 1
[8 empty] | A1A - 7.2KV 1-PH SNGLE PRI SUPPRT | [9 empty] | 5
[8 empty] | A2 - 7.2KV 1-PH DBLE PRI SUPPRT | [9 empty] | 3
[8 empty] | A3 - 7.2KV 1-PH PRI 20-60 ANGLE | [9 empty] | 2
[8 empty] | A4 - 7.2KV 1-PH PRI 60-90 ANGLE | [9 empty] | 8
[8 empty] | A5 - 7.2KV 1-PH PRI DEADEND | [9 empty] | 7
[8 empty] | A5-1 - 7.2KV 1-PH PRI TAP | [9 empty] | 8
[8 empty] | A5-2 - 7.2KV 1-PH PRI TAP | [9 empty] | 5
[8 empty] | A6 - 7.2KV 1-PH PRI VERTICAL DBLE DE | [9 empty] | 2
[8 empty] | A7-1 - 7.2KV 1-PH X-ARM SNGLE DE | [9 empty] | 1
[8 empty] | A7X - 7.2KV 1-PH X-ARM 5' SNGLE DE | [9 empty] | 5
[8 empty] | A8 - 7.2KV 1-PH X-ARM DBLE DE | [9 empty] | 1
[8 empty] | A8X - 7.2KV 1-PH X-ARM 5' DBLE DE | [9 empty] | 5
[8 empty] | A9 - 7.2KV 1-PH X-ARM DBLE LINE ARM | [9 empty] | 3
[8 empty] | A9-1 - 7.2KV 1-PH X-ARM SNGLE LINE ARM | [9 empty] | 2
[8 empty] | A9-1X - 7.2KV 1-PH X-ARM 5' SNGLE LINE | [9 empty] | 9
[8 empty] | A9X - 7.2KV 1-PH X-ARM 5' DBLE LINE | [9 empty] | 3
[8 empty] | E1-1 - 7.2KV SERV DOWN GUY (FROG) | [9 empty] | 10
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 46
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 1
[8 empty] | E2-2 - 7.2KV SNGLE OVH GUY (2) SM EYE PLATE | [9 empty] | 4
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 10
[8 empty] | F1-1P - LINE ANCHOR ASSEMBLY (PLATE) | [9 empty] | 4
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 38
[8 empty] | F30S - FUSE 30-AMP STANDARD | [9 empty] | 1
[8 empty] | G1.10.1.1 - 7200OVH 10KVA 120/240 CSP | [9 empty] | 4
[8 empty] | G1.15.1.1 - 7200OVH 15KVA 120/240 CSP | [9 empty] | 8
[8 empty] | G1.25.1.1 - 7200OVH 25KVA 120/40 CSP | [9 empty] | 3
[8 empty] | G1.25.1.2 - 7200OVH 25KVA 120/240 D/B | [9 empty] | 3
[8 empty] | G1.37.1.1 - 7200OVH 37KVA 120/240 CSP | [9 empty] | 3
[8 empty] | G1.37.1.2 - 7200OVH 37KVA 120/240 D/B | [9 empty] | 1
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 1
[8 empty] | G1.50.1.1 - 7200OVH 50KVA 120/240 CSP | [9 empty] | 1
[8 empty] | G1.50.1.2 - 7200OVH 50KVA 120/240 D/B | [9 empty] | 1
[8 empty] | G105 - 7.2KV 1-PH TRNS CSP @ 1-PH TANGENT | [9 empty] | 8
[8 empty] | G106 - 7.2KV 1-PH TRNS CSP @ DEAD END | [9 empty] | 16
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 6
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 11
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 10
[8 empty] | M2-12 - 7.2KV POLE PROTECT ASSY GRND BUTT PLATE | [9 empty] | 3
[8 empty] | M5-14X - 7.2KV PRI ASSEMBLY (5' X-ARM) | [9 empty] | 1
[8 empty] | M5-14XC - COMPOSITE TANGENT ARM 5' | [9 empty] | 1
[8 empty] | M5-15 - FIBERGLASS ARM 1-PHASE | [9 empty] | 5
[8 empty] | M5-20E - 7.2KV PRI ASSEMBLY (EPOXILATOR) | [9 empty] | 1
[8 empty] | M5-23X-10' - 7.2KV PRI ASSEMBLY (10' STRAIN INSUL) | [9 empty] | 2
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 1
[8 empty] | M5-5 - PRI ASSEMBLY (INSUL & X-ARM PIN) | [9 empty] | 2
[8 empty] | M5-5N - PRI ASSEMBLY (WHITE GLASS & X-ARM PIN) | [9 empty] | 2
[8 empty] | M5-6MOV - PRI ASSEMBLY (MOV ARRESTOR) | [9 empty] | 2
[8 empty] | M5-9F - 7.2KV CUTOUT FUSED (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | M5-9LBF - 7.2KV CUTOUT LB-FUSED (RETIRE ONLY) | [9 empty] | 2
[8 empty] | M5-9LBS - 7.2KV CUTOUT LB-SOLID (RETIRE ONLY) | [9 empty] | 1
[8 empty] | PVC-3 - PVC 3" | [9 empty] | 10
[8 empty] | R1.5.1 - OCR 50AMP 15KV H | [9 empty] | 1
[8 empty] | UA1 - 1-PH CBL TERM POLE--CUTOUT (no arm) | [9 empty] | 6
[8 empty] | UA1FG - 1-PH CBL TERM W/CUTOUT & FIBERGLASS ARM | [9 empty] | 4
[8 empty] | UA2 - 1-PH CBL TERM POLE - URD SOURCE | [9 empty] | 5
[8 empty] | UA3 - 1 PH CBL TERM POLE--ARM MNTED. CUTOUT | [9 empty] | 1
[8 empty] | UG1.100.1.3 - 7200URD 100KVA 120/240 S/L | [9 empty] | 1
[8 empty] | UG7X - 1-PH PAD MNT XFMR--TWO ELBOWS | [9 empty] | 1
[8 empty] | UJ1-4 - SEC. CONNECTOR BLOCK | [9 empty] | 3
[8 empty] | UJ2-4 - SEC. CONNECTOR BLOCK TO XFMR | [9 empty] | 3
[8 empty] | UM1-7NC - GND SLEEVE ASSY FOR PD MNT XFMR (large) | [9 empty] | 1
[8 empty] | UM5 - SECONDARY RISER | [9 empty] | 7
[8 empty] | UM6-1 - PRI. CABLE TERMINATION-LOADBREAK | [9 empty] | 7
[8 empty] | UM6-10 - INSULATED PROTECTIVE CAP (200 A) | [9 empty] | 5
[8 empty] | UM6-5 - Y BUSHING (LOAD BREAK INSERT) | [9 empty] | 1
[8 empty] | VA3 - 14.4KV 1-PH 30-60 ANGLE | [9 empty] | 1
[8 empty] | VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE) | [9 empty] | 1
[8 empty] | VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE | [9 empty] | 1
[8 empty] | VG1.15.1.1 - DV OVH 15KVA 120/240 CSP | [9 empty] | 1
[8 empty] | VG1.15.1.2 - DV OVH 15KVA 120/240 D/B | [9 empty] | 1
[8 empty] | VM5-20 - 14.4KV PRI. ASSEMBLY (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR) | [9 empty] | 2
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 2
[8 empty] | VM5-9F - 14.4KV CUTOUT, FUSED | [9 empty] | 1
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 4
[8 empty] | VM5-9S - 14.4KV CUTOUT, SOLID | [9 empty] | 1
[8 empty] | VM8-15 - 14.4KV PRI METER GUIDE 3-PH 4W (RETIRE) | [9 empty] | 1
[8 empty] | VUA1FG - 1-PH 14.4 CBL TERM/CUTOUT/FG ARM | [9 empty] | 1