## PROPOSAL SUMMARY
PROPOSAL SUMMARY
DISTRIBUTION LINE CONSTRUCTION
| Line Change New Construction | 21136.93
Part LCN | Part LCN
| Line Removals | 0
Part LCR | Part LCR
| Trenching & Boring | 0
Part UR
| TOTAL | 21136.93

## REMOVAL UNITS
Part LCR - REMOVAL CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | LABOR
NO. | UNITS | Unit Price | Extended Price
2 TRI | 793
25-6 | 1
30-5 | 2
30-6 | 1
35-5 | 7
4 ACSR | 1776
40-5 | 2
6HDC | 3897
E1-1 | 1
E1-2 | 7
E3-10 | 2
F1-2P | 2
J10 | 4
K11C | 4
M2-11 | 5
VA1A | 1
VA5 | 2
VA5-1 | 2
VA6 | 1
VA7X | 2
VA8 | 1
VA8X | 1
VA9-1X | 1
VA9X | 4
VG1.10.1.1 | 2
VG1.15.1.1 | 2
VG105 | 1
VG106 | 3
VM5-20E | 1
|  | Total | 0

## TABLES A & B
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE A. Unit Material Values of LCR Units Chargeable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
VG1.10.1.1 | 2 | 790 | 1580
VG1.15.1.1 | 2 | 912.15 | 1824.3
Note: (Put Transformer, Recloser, Conductor and Big Salvageable items in this table with costs)
Part LCR-- REMOVAL CONSTRUCTION ASSEMBLY UNITS
TABLE B. Values of Unit Material Items of Creditable to Bidder
UNIT NO. | NO. OF UNITS | UNIT MATERIAL VALUE* | EXTENDED VALUE
VG1.10.1.1 | 2 | 790 | 1580
VG1.15.1.1 | 2 | 912.15 | 1824.3
Note: (Generally is the same as Table A but could be different)

## Part UR
UNIT | KEC NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS (ft)* | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
UR 2-S (40” x 24”) |  |  | 0 | 0 | 0 | 0
UR 2-R (40” x 12”) |  |  | 0 | 0 | 0 | 0
UR2-RS |  |  | 0 | 0 | 0 | 0
UR5-P (40") |  |  | 0 | 0 | 0 | 0
UR7-B (2") |  |  | 0 | 0 | 0 | 0
UR7-B (3") |  |  | 0 | 0 | 0 | 0
TM101R (ROCK HOLE) | 15 |  | 0 | 0 | 0 | 0
TOTAL Part UR--Underground Excavation Construction Assembly Units | [5 empty] | 0
Contractor to provide 2 and 3 inch Red or Grey Poly Schedule 40 Conduit plus associated couplers for boring units in bid, see NEW CONST UNITS tab.

## Part LCN - Not Explicit
The following descriptioons apply only to those new units not sufficiently explicit:
Unit | Description
2 TRI | SEC OVH CONDUCTOR 2 TRI
4ACSR | PRI OVH CONDUCTOR 4 ACSR
6HDC | N0. 6 HARD DRAWN COPPER WIRE
25-6 | TREATED WOOD POLE, 25 FOOT CLASS 6
30-6 | TREATED WOOD POLE, 30 FOOT CLASS 6
30-5 | TREATED WOOD POLE, 30 FOOT CLASS 5
30-4 | TREATED WOOD POLE, 30 FOOT CLASS 4
35-5 | TREATED WOOD POLE, 35 FOOT CLASS 5
35-3 | TREATED WOOD POLE, 35 FOOT CLASS 3
40-3 | TREATED WOOD POLE, 40 FOOT CLASS 3
40-5 | TREATED WOOD POLE, 40 FOOT CLASS 5
VG1.10.1.1 | Dual Voltage 10kVA Pole Mount Transformer
VG1.15.1.1 | Dual Voltage 15kVA Pole Mount Transformer
VG1.15.1.2 | Dual Voltage 15kVA Pole Mount Transformer
VG1.25.1.2 | Dual Voltage 25kVA Pole Mount Transformer

## NEW CONST UNITS
PART LCN --NEW CONSTRUCTION ASSEMBLY UNITS
UNIT | NO. OF | CONTRACTOR |  | UNIT PRICE |  | EXTENDED PRICE
NO. | UNITS | BID UNITS (if different) | Labor | Materials | Labor & Materials | Labor & Material
2 TRI | 875 |  |  | 0.64 | 0.64 | 560
30-4 | 2 |  |  | 356.49 | 356.49 | 712.98
35-3 | 4 |  |  | 491.58 | 491.58 | 1966.32
4 ACSR | 6004 |  |  | 0.13 | 0.13 | 780.52
40-3 | 13 |  |  | 669.7 | 669.7 | 8706.1
E1-2 | 7 |  |  | 44.55 | 44.55 | 311.85
E1-3-2P | 0 |  |  | 130.68 | 130.68 | 0
E1EHS | 5 |  |  | 33.9 | 33.9 | 169.5
E3-10 | 14 |  |  | 6.15 | 6.15 | 86.1
F1-2P | 3 |  |  | 43.82 | 43.82 | 131.46
F5-3-30 | 1 |  |  | 71.65 | 71.65 | 71.65
G1.4X | 1 |  |  | 12.32 | 12.32 | 12.32
J10 | 4 |  |  | 8.62 | 8.62 | 34.48
K11C | 8 |  |  | 8.39 | 8.39 | 67.12
M2-11 | 11 |  |  | 14.93 | 14.93 | 164.23
M5-15 | 1 |  |  | 42.4 | 42.4 | 42.4
M5-23X-12' | 8 |  |  | 48.15 | 48.15 | 385.2
M5-5N | 1 |  |  | 18.51 | 18.51 | 18.51
VA5 | 1 |  |  | 35.95 | 35.95 | 35.95
VA5-1 | 1 |  |  | 41.55 | 41.55 | 41.55
VA7C-5 | 4 |  |  | 180.3 | 180.34 | 721.36
VA8C-5 | 5 |  |  | 209.58 | 209.58 | 1047.9
VA9-1C-5 | 6 |  |  | 134.48 | 134.48 | 806.88
VG1.15.1.2 | 2 |  |  | 848.81 | 848.81 | 1697.62
VG1.25.1.2 | 2 |  |  | 990.9 | 990.9 | 1981.8
VG1.4X | 2 |  |  | 12.32 | 12.32 | 24.64
VG1.6 | 1 |  |  | 12.32 | 12.32 | 12.32
VM5-5 | 4 |  |  | 22.47 | 22.47 | 89.88
VM5-7 | 1 |  |  | 21.37 | 21.37 | 21.37
VM5-9FTRANS | 4 |  |  | 108.73 | 108.73 | 434.92
21136.93

## Owner Furnished Material
OWNER FURNISHED MATERIALS LIST
ITEM | DESCRIPTION | QTY | UNIT | PRICE EA | EXTENDED
20300 | BOLT EYE 5/8" | 4 |  | 1.04 | 4.16
20350 | BOLT MACHINE 5/8" | 75 |  | 1.04 | 75.56
21549 | CLAMP, DEADEND OR AUTO | 16 |  | 6.85 | 109.6
21554 | CLAMP, DEADEND PREFORMED | 16 |  | 2.35 | 37.6
20900 | CLAMP, GROUND ROD | 11 |  | 2.25 | 24.75
20950 | CLAMP, GUY BONDING | 12 |  | 2.8 | 33.6
21000 | CLAMP, HOT LINE | 5 |  | 8.44 | 42.2
21050 | CLAMP, WEDGE TUBE | 8 |  | 1.49 | 11.92
21210 | CLEVIS, THIMBLE | 12 |  | 13 | 156
21551 | DEADEND GUY (PREFORMED) | 24 |  | 2.35 | 56.4
21800 | GUY GUARD | 14 |  | 6.15 | 86.1
22050 | INSULATOR, SPOOL | 28 |  | 1.24 | 34.72
23800 | SCREW, LAG | 8 |  | 0.75 | 6
23850 | SHACKLE, ANCHOR | 8 |  | 6.49 | 51.92
24417 | WASHERS, CURVED 3X3 | 93 |  | 0.9 | 83.7
24401 | WASHERS, SQUARE 2X2 | 3 |  | 0.3 | 0.9
26150 | WIRE, JUMPERS | 654 |  | 0 | 0
20100 | ANCHOR, PLATE 16" | 3 |  | 20.81 | 62.43
20600 | BRACKET, FIBERGLASS ARM 1-PH | 1 |  | 38.97 | 38.97
21150 | CLEVIS, STATIONARY | 4 |  | 5.44 | 21.76
21200 | CLEVIS, SWINGING | 24 |  | 3.72 | 89.28
21351 | CROSSARM, 5' (COMPOSITE-DE) | 9 |  | 144.39 | 1299.51
21352 | CROSSARM, 5' (COMPOSITE-TANGENT) | 6 |  | 86.78 | 520.68
21450 | CUTOUT | 4 |  | 108.73 | 434.92
21710 | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) | 7 |  | 7.95 | 55.65
21950 | INSULATOR, PIN TYPE 14.4 | 10 |  | 9.67 | 96.7
22090 | INSULATOR, POLYMER (EPOXI) | 16 |  | 15.08 | 241.28
21955 | INSULATOR, POST TYPE 14.4/STUD | 1 |  | 21.07 | 21.07
22150 | INSULATOR, STRAIN | 8 |  | 41.66 | 333.28
22020 | INSULATOR, WHITE GLASS | 7 |  | 5.71 | 39.97
22900 | PINS, CROSSARM | 17 |  | 12.8 | 217.6
23370 | POLE 30-4 | 2 |  | 356.49 | 712.98
23430 | POLE 35-3 | 4 |  | 491.58 | 1966.32
23480 | POLE 40-3 | 13 |  | 669.7 | 8706.1
23715 | ROD, ANCHOR EXPANDING ROCK TYPE | 1 |  | 71.65 | 71.65
23700 | ROD, ANCHOR PLATE | 3 |  | 23.01 | 69.03
23750 | ROD, GROUND | 11 |  | 12.68 | 139.48
25300 | WIRE #2 TRI (OVH) | 875 |  | 0.64 | 560
25400 | WIRE 4 ACSR | 6004 |  | 0.13 | 780.52
24600 | WIRE GUY 3/8" | 480 |  | 0.34 | 163.2
5024 | 15KVA DV 120/240 D/B 1PH OVH | 2 |  | 848.81 | 1697.62
5044 | 25KVA DV 120/240 D/B 1PH OVH | 2 |  | 990.9 | 1981.8
21136.93

## CONSTRUCTION PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-09 |  | 9:39 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16322 P2 | [7 empty] | Description: |  | Replace poles |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 349 |  | Open Date: |  |  | 2019-08-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  |  |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Construction
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 4 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 74 | EA
E | * | 20360 | [6 empty] | BOLT MACHINE 3/4" |  |  | 2 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 11 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 12 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 5 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 8 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 12 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 14 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 24 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 14 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 14 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 26 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 7 | EA
E | * | 23850 | [6 empty] | SHACKLE, ANCHOR |  |  | 9 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 3 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 92 | EA
E | * | 24418 | [6 empty] | WASHERS, CURVED 4X4 |  |  | 2 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 647 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 2 | EA
L | 20600 | [7 empty] | BRACKET, FIBERGLASS ARM 1-PH |  |  | 1 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 4 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 22 | EA
L | 21351 | [7 empty] | CROSSARM, 5' (COMPOSITE-DE) |  |  | 8 | EA
L | 21352 | [7 empty] | CROSSARM, 5' (COMPOSITE-TANGENT) |  |  | 7 | EA
L | 21450 | [7 empty] | CUTOUT |  |  | 4 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 6 | EA
L | 21714 | [7 empty] | GUY ATTACH (DBLE CLYD - POLE EYE PLATE) |  |  | 1 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 10 | EA
L | 21955 | [7 empty] | INSULATOR, POST TYPE 14.4/STUD |  |  | 1 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 8 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 14 | EA
L | 22150 | [7 empty] | INSULATOR, STRAIN |  |  | 9 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 18 | EA
L | 23370 | [7 empty] | POLE 30-4 |  |  | 2 | EA
L | 23430 | [7 empty] | POLE 35-3 |  |  | 4 | EA
L | 23480 | [7 empty] | POLE 40-3 |  |  | 13 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 2 | EA
L | 23715 | [7 empty] | ROD, ANCHOR EXPANDING ROCK TYPE |  |  | 1 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 11 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 480 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 875 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 6004 | EA
S | 5024 | [7 empty] | 15KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
S | 5044 | [7 empty] | 25KVA DV 120/240 D/B 1PH OVH |  |  | 2 | EA
[10 empty] | Total Quantity For Construction: |  | 8491
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Construction | [7 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 875
[8 empty] | 30-4 - POLE, 30 FOOT CLASS 4 | [9 empty] | 2
[8 empty] | 35-3 - POLE, 35 FT CLASS 3 | [9 empty] | 4
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 6004
[8 empty] | 40-3 - POLE, 40 FT CLASS 3 | [9 empty] | 13
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 6
[8 empty] | E1-3-2P - 7.2KV DBLE DOWN GUY 3-PH HEAVY | [9 empty] | 1
[8 empty] | E1EHS - GUY WIRE 3/8 EXTRA HS | [9 empty] | 4
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 14
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 2
[8 empty] | F5-3-30 - ROCK ANCHOR ASSEMBLY EXPANDING 30" | [9 empty] | 1
[8 empty] | G1.4X - 7.2KV 1-PH TRANS CONV @ HORZ DE | [9 empty] | 1
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 4
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 8
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 11
[8 empty] | M5-15 - FIBERGLASS ARM 1-PHASE | [9 empty] | 1
[8 empty] | M5-23X-12' - 7.2KV PRI ASSEMBLY (12' STRAIN INSUL) | [9 empty] | 9
[8 empty] | M5-5N - PRI ASSEMBLY (WHITE GLASS & X-ARM PIN) | [9 empty] | 1
[8 empty] | TM101R - ROCK HOLE | [9 empty] | 14
[8 empty] | VA5 - 14.4KV 1-PH D.E. (SNGLE) | [9 empty] | 1
[8 empty] | VA5-1 - 14.4KV 1-PH TAP | [9 empty] | 1
[8 empty] | VA7C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE DE SNGLE | [9 empty] | 4
[8 empty] | VA8C-5 - 14.4KV 1-PH DBLE DE 5' COMPOSITE | [9 empty] | 4
[8 empty] | VA9-1C-5 - 14.4KV 1-PH X-ARM 5' COMPOSITE TANGENT | [9 empty] | 7
[8 empty] | VG1.15.1.2 - DV OVH 15KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.25.1.2 - DV OVH 25KVA 120/240 D/B | [9 empty] | 2
[8 empty] | VG1.4X - 14.4KV 1-PH TRANS CONV @ HORZ D.E. | [9 empty] | 2
[8 empty] | VG1.6 - 14.4KV 1-PH TRANS CONV @ VERT D.E. | [9 empty] | 1
[8 empty] | VM5-5 - 14.4KV PRI. ASSEMBLY | [9 empty] | 3
[8 empty] | VM5-7 - 14.4KV PRI. ASSEMBLY (POST TYPE INSUL) | [9 empty] | 1
[8 empty] | VM5-9FTRANS - 14.4KV CUTOUT, TRANSFORMER FUSE | [9 empty] | 4

## RETIRMENT PICK LIST
KOOTENAI ELECTRIC COOPERATIVE, INC.
Revision: 100735
2019-08-09 |  | 9:39 |  |  | WORK ORDER | [11 empty] | Page: 1
ITEM PICK LIST
Work Order: | 16322 P2 | [7 empty] | Description: |  | Replace poles |  |  | Type: |  | System Improvement
MI Location: | [8 empty] | Location: |  | 0 |  |  | Status: |  | Open
Pick List ID: | ALL PICK LISTS SUMMARIZED | [7 empty] | Customer: |  | CAPITAL PROJECT 349 |  | Open Date: |  |  | 2019-08-01
Project: | FEMA MITIGATION | [7 empty] | Staked By: |  |  |  | Rel By:
[7 empty] | Map Location: | [5 empty] | Rel Date:
Retirement
Group | Item | [7 empty] | Description |  |  | Original | UOM |  | All |  | Quantity |  | Loc
Quantity
E | * | 20200 | [6 empty] | BOLT, CARRIAGE |  |  | 34 | EA
E | * | 20250 | [6 empty] | BOLT D.A. 5/8" |  |  | 24 | EA
E | * | 20300 | [6 empty] | BOLT EYE 5/8" |  |  | 10 | EA
E | * | 20350 | [6 empty] | BOLT MACHINE 5/8" |  |  | 37 | EA
E | * | 20360 | [6 empty] | BOLT MACHINE 3/4" |  |  | 2 | EA
E | * | 20750 | [6 empty] | BRACKET, NEUTRAL OFF |  |  | 1 | EA
E | * | 20900 | [6 empty] | CLAMP, GROUND ROD |  |  | 5 | EA
E | * | 20950 | [6 empty] | CLAMP, GUY BONDING |  |  | 8 | EA
E | * | 21000 | [6 empty] | CLAMP, HOT LINE |  |  | 6 | EA
E | * | 21050 | [6 empty] | CLAMP, WEDGE TUBE |  |  | 4 | EA
E | * | 21210 | [6 empty] | CLEVIS, THIMBLE |  |  | 7 | EA
E | * | 21549 | [6 empty] | CLAMP, DEADEND OR AUTO |  |  | 10 | EA
E | * | 21551 | [6 empty] | DEADEND GUY (PREFORMED) |  |  | 16 | EA
E | * | 21554 | [6 empty] | CLAMP, DEADEND PREFORMED |  |  | 10 | EA
E | * | 21664 | [6 empty] | GUY ATTACHMENT (FROG) |  |  | 1 | EA
E | * | 21800 | [6 empty] | GUY GUARD |  |  | 2 | EA
E | * | 22050 | [6 empty] | INSULATOR, SPOOL |  |  | 19 | EA
E | * | 22750 | [6 empty] | NUTS, EYE 5/8" |  |  | 10 | EA
E | * | 23800 | [6 empty] | SCREW, LAG |  |  | 24 | EA
E | * | 24401 | [6 empty] | WASHERS, SQUARE 2X2 |  |  | 99 | EA
E | * | 24417 | [6 empty] | WASHERS, CURVED 3X3 |  |  | 40 | EA
E | * | 24418 | [6 empty] | WASHERS, CURVED 4X4 |  |  | 2 | EA
E | * | 25000 | [6 empty] | WIRE, 6 HDC |  |  | 4839 | EA
E | * | 26150 | [6 empty] | WIRE, JUMPERS |  |  | 419 | EA
L | 20100 | [7 empty] | ANCHOR, PLATE 16" |  |  | 1 | EA
L | 20550 | [7 empty] | BRACE CROSSARM 28" |  |  | 34 | EA
L | 21150 | [7 empty] | CLEVIS, STATIONARY |  |  | 4 | EA
L | 21200 | [7 empty] | CLEVIS, SWINGING |  |  | 14 | EA
L | 21330 | [7 empty] | CROSSARM, 5' (WOOD) |  |  | 15 | EA
L | 21340 | [7 empty] | CROSSARM, 8' (WOOD) |  |  | 2 | EA
L | 21710 | [7 empty] | GUY ATTACH (SMALL CLYD - POLE EYE PLATE) |  |  | 5 | EA
L | 21714 | [7 empty] | GUY ATTACH (DBLE CLYD - POLE EYE PLATE) |  |  | 1 | EA
L | 21950 | [7 empty] | INSULATOR, PIN TYPE 14.4 |  |  | 12 | EA
L | 22020 | [7 empty] | INSULATOR, WHITE GLASS |  |  | 11 | EA
L | 22090 | [7 empty] | INSULATOR, POLYMER (EPOXI) |  |  | 11 | EA
L | 22900 | [7 empty] | PINS, CROSSARM |  |  | 22 | EA
L | 22950 | [7 empty] | PINS, POLE TOP |  |  | 1 | EA
L | 23360 | [7 empty] | POLE 30-5 |  |  | 2 | EA
L | 23410 | [7 empty] | POLE 35-5 |  |  | 7 | EA
L | 23460 | [7 empty] | POLE 40-5 |  |  | 2 | EA
L | 23700 | [7 empty] | ROD, ANCHOR PLATE |  |  | 1 | EA
L | 23750 | [7 empty] | ROD, GROUND |  |  | 5 | EA
L | 24600 | [7 empty] | WIRE GUY 3/8" |  |  | 330 | EA
L | 25300 | [7 empty] | WIRE #2 TRI (OVH) |  |  | 793 | EA
L | 25400 | [7 empty] | WIRE 4 ACSR |  |  | 1776 | EA
S | 5010 | [7 empty] | 10KVA DV 120/240 CSP 1PH OVH |  |  | 2 | EA
X | * | 5023-2 | [6 empty] | 15KVA DV 120/240 CSP 1PH OVH |  |  | 2 | EA
[10 empty] | Total Quantity For Retirement: |  | 8682
* Indicates Non-Stock Or Exempt Material Item
Signature: | [11 empty] | Date:
Assembly Units Summary
Type | Pole |  | Wire | Neut |  | Misc |  | Assembly Unit | [9 empty] | Quantity
Retirement | [7 empty] | 2 TRI - SEC. OVH CONDUTOR, 2 TRI | [9 empty] | 793
[8 empty] | 25-6 - POLE, 25 FT CLASS 6 (RETIRMENT ONLY) | [9 empty] | 1
[8 empty] | 30-5 - POLE, 30 FT CLASS 5 | [9 empty] | 2
[8 empty] | 30-6 - POLE 30 FT CLASS 6 (RETIREMENT ONLY) | [9 empty] | 1
[8 empty] | 35-5 - POLE, 35 FT CLASS 5 | [9 empty] | 7
[8 empty] | 4 ACSR - PRI. OVH CONDUCTOR, 4 ACSR | [9 empty] | 1776
[8 empty] | 40-5 - POLE, 40 FT CLASS 5 | [9 empty] | 2
[8 empty] | 6HDC - PRI. OVH CONDUCTOR, 6HDC | [9 empty] | 4839
[8 empty] | E1-1 - 7.2KV SERV DOWN GUY (FROG) | [9 empty] | 1
[8 empty] | E1-2 - 7.2KV SNGLE DOWN GUY (SM CLYD) | [9 empty] | 5
[8 empty] | E1-3-2P - 7.2KV DBLE DOWN GUY 3-PH HEAVY | [9 empty] | 1
[8 empty] | E3-10 - GUY GUARD | [9 empty] | 2
[8 empty] | F1-2P - PLATE ANCHOR 16" | [9 empty] | 1
[8 empty] | J10 - SEC ASSEMBLY (5 TO 60 DEGREE) | [9 empty] | 4
[8 empty] | K11C - SERV ASSEMBLY | [9 empty] | 4
[8 empty] | M2-11 - 7.2KV GROUNDING ASSEMBLY GRND ROD | [9 empty] | 5
[8 empty] | VA1A - 14.4KV 1-PH SNGLE PRI. SUPPRT | [9 empty] | 1
[8 empty] | VA5 - 14.4KV 1-PH D.E. (SNGLE) | [9 empty] | 2
[8 empty] | VA5-1 - 14.4KV 1-PH TAP | [9 empty] | 2
[8 empty] | VA6 - 14.4KV 1-PH VERT D.E. (DBLE) | [9 empty] | 1
[8 empty] | VA7X - 14.4KV 1-PH X-ARM (5') D.E. (SNGLE) | [9 empty] | 2
[8 empty] | VA8 - 14.4KV 1-PH X-ARM D.E. (DBLE) | [9 empty] | 1
[8 empty] | VA9-1X - 14.4KV 1-PH X-ARM (5') SNGLE LINE ARM | [9 empty] | 1
[8 empty] | VA9X - 14.4KV 1-PH X-ARM (5')DBLE LINE ARM | [9 empty] | 5
[8 empty] | VG1.10.1.1 - DV OVH 10KVA 120/240 CSP | [9 empty] | 2
[8 empty] | VG1.15.1.1 - DV OVH 15KVA 120/240 CSP | [9 empty] | 2
[8 empty] | VG105 - 14.4KV 1-PH TRNSFMR AT 1-PH TANGENT | [9 empty] | 1
[8 empty] | VG106 - 14.4KV 1-PH TRNSFMR AT D.E. | [9 empty] | 3
[8 empty] | VM5-20E - 14.4KV PRI. ASSMEBLY (EPOXILATOR) | [9 empty] | 1